## 08108487
Date | Case note | Job request | Job comments
2025-09-08 08:23 | WNSO XXX AWARE
2025-09-08 08:48 | SYSTEM HAD BEEN DOWN SO UNABLE TO UPDATE - DID RING XXX AT 08:30 BUT HE WAS GOING TO A LEAK, XXX ATTENDING THIS BUT CURRENTLY DEALING WITH RES ISSUES.
2025-09-08 08:55 | XXX XXX TO INVESTIGATE NO WATERS IN THE BB4 AREA W/O 02092925 RELATES.
2025-09-08 09:05 | SEE NOTE EARLIER, DUE TO SYSTEM ERROR COULDN'T UPDATE- A LEAK WAS REPORTED IN A DIFFERENT DMA - SPOKE TO XXX XXX WHO ADVISE NOT TO RAISE A DUAL ATTENDANCE AT THIS STAGE DUE TO OTHER ISSUES IN THE AREA.
2025-09-08 09:17 | SPOKE TO XXX XXX AS ONLY RECEIVED A FEW CALLS & NO PRESSURE DATA - ADVISED TO SEND BOTTLED WATER TO PS CUSTS FOR PA01 - EMAILED CIT.
2025-09-08 09:30 | SPOKEN TO XXX (XXX) AS UNABLE TO CONTACT XXX FOR UPDATE - THERE IS A LEAK ON A 10" MAIN WHICH XXX IS TRYING TO REZONE. HE HAS ASKED IF I CAN CONTACT XXX TO SEE IF ANY XXX CAN TAKE SOME MANUAL PRESSURES AS HE ONLY HAS XXX & XXX IN AREA.
2025-09-08 09:41 | CC 08108481 - RESTORED BUT VERY POOR PRESSURE // CC 08108383 LEFT VM // CC 08108486 - VERY PP
2025-09-08 09:56 | AS PER NT XXX - THERE IS A LEAK ON THE 10" CI MAIN ON COWPE ROAD, BB4 - GANG WILL BE ON SITE SHORLTY TO START THE REPAIRS. XXX HAS CARRIED OUT A REZONE TO RESTORE SUPPLIES SO ALL CUSTS SHOULD HAVE WATER, PRESSURE MAY BE REDUCED. PLEASE INFORM THE EVENTS TEAM OF ANY NO WATER CALLS. W/O 02092898 RELATES.
2025-09-08 09:58 | XXX HAS ISOLATED THE LEAK FURTHER SO PRESSURE IN DMA: 224-01 SHOULD BE EVEN BETTER - NO WATER CORE DATA SO HE WILL TRY & TAKE A MANUAL PRESSURE WHEN HE CAN BUT ALL SHOULD BE RESTORED FROM 9AM.
2025-09-08 11:24 | CC 8109234 & LEFT VM
2025-09-08 11:29 | GANG WILL BE ATTENDING TO REPAIR A LEAKING 10" MAIN ON COWPE ROAD, BB4. ALL CUSTOMERS SHOULD HAVE WATER BUT PRESSURE MAY BE REDUCED. PLEASE HIGHLIGHT ANY NO WATERS TO THE EVENTS TEAM.
2025-09-08 11:31 | LM WITH XXX TO ADVISE OF NO WATER CALL.
2025-09-08 12:26 | RANG XXX AGAIN FOR UPDATE - NO ANSWER.
2025-09-08 13:39 | GANG WILL BE ATTENDING TO REPAIR A LEAKING 10" MAIN ON COWPE ROAD, BB4. ALL CUSTOMERS SHOULD HAVE WATER BUT PRESSURE MAY BE REDUCED. PLEASE HIGHLIGHT ANY NO WATERS TO THE EVENTS TEAM.
2025-09-08 14:09 | AS PER XXX - GANG ARE ON ANOTHER BURST THEN WILL BE GOING TO THIS.
2025-09-08 15:24 | FRONT END HAVE ADVISED OF NW CALL ON XXX - TRIED CALLING XXX TO MAKE HIM AWARE BUT NO ANSWER
2025-09-08 15:39 | CALLED XXX AGAIN - LEFT VM
2025-09-08 16:14 | SPOKEN WITH XXX, LEAK IS NOT ON COWPE ROAD, THEY BELIEVE LEAK IS DOWN IN RAWTENSTALL, GANG ARE ON SITE AND AWAITING TM TO ARRIVE TO START DIG
2025-09-08 16:20 | XXX GOT HOLD OFF XXX BUT WAS UNAWARE OF THE NEW CALL - TRIED CALLING HIM AGAIN TO ADVISE OF THE NW CALL BUT NO ANSWER
2025-09-08 16:44 | I HAVE ESCALATED TO WNSO THAT WE REQUIRE AN UPDATE FROM XXX ONSITE ASAP AND HE IS NOT ANSWERING // XXX TRIED CALLING HIM AGAIN - NO ANSWER
2025-09-08 17:11 | AS PER XXX XXX - 12'' BURY ROAD - AWAITING GRANT TO FINISH THE OTHER REPAIR IN BB4
2025-09-08 18:17 | HIGHLIGHTED THE NW CALL TO XXX // HE SAID IT RELATES TO OTHER BB4 EVENT NOT THIS ONE
2025-09-08 18:43 | XXX XXX IS ONSITE BUT IS WAITING FOR GANG TO FINISH REPAIRS ON OTHER ONGOING BB4 EVENT // GANG TO ATTEND AND REPAIR LEAKING 12'' MAIN ON BURY ROAD, BB4 ALL CUSTOMERS SHOULD HAVE WATER BUT PRESSURE MAY BE REDUCED. PLEASE HIGHLIGHT ANY NO WATERS TO THE EVENTS TEAM.
2025-09-08 20:39 | CHASED XXX XXX - XXX IS NOW ONSITE AND THEY BELIEVE THEY HAVE NOW LOCATED THE LEAK THEY JUST NEED TO DIG A LITTLE FURTHER
2025-09-08 21:31 | GANG ARE NOW ONSITE TO REPAIR LEAKING 12'' MAIN ON BURY ROAD, BB4 // XXX XXX IS ONSITE TO ASSIST GANG STILL TRYING TO PINPOINT THE LEAK BUT ARE NOT FAR OFF NOW ALL CUSTOMERS SHOULD HAVE WATER BUT PRESSURE MAY BE REDUCED. PLEASE HIGHLIGHT ANY NO WATERS TO THE EVENTS TEAM. W/O 02092898 RELATES
2025-09-09 01:32 | AS PER XXX REPAIRS ONGOING HOWEVER GANG HAVE LEFT SITE FOR PARTS TO COMLETE REPAIRS
2025-09-09 01:34 | GANG HAVE NOW LEFT SITE FOR PARTS TO COMPLETE THE TO REPAIR LEAKING 12'' MAIN ON BURY ROAD, BB4 // XXX WILL RETURN BACK TO SITE TO CHARGE THE MAINS ALL CUSTOMERS SHOULD HAVE WATER BUT PRESSURE MAY BE REDUCED. PLEASE HIGHLIGHT ANY NO WATERS TO THE EVENTS TEAM.
2025-09-09 02:54 | AS PER CALL TO GANG ONSITE, REPAIRS ARE COMPLETED AND XXX XXX CHARGING THE MAINS
2025-09-09 02:59 | GANG REPAIRED THE LEAKING 12'' MAIN ON BURY ROAD, BB4 ALL CUSTOMERS SHOULD NOW HAVE SUPPLY
2025-09-09 05:04 |  | Gang to repair leak on 10" CI in road o/s terraces. Please attend 1st job 08/09 on 4hr response as this is dropping Cowpe SR. There are parked cars next to where nights have marked the leak that will need moving, unsure of TM requirements as this may remain wide enough to stay open but if closure is req'd then this is the only access for many props and would need dig and do, I've put for agent to pre site but will recommend that the gang weigh up what's needed on arrival. XXX to assist as this needs rezoning as shut-off is from DMA meter. Valves have been checked and marked for the isolation and to prevent rezone feeding back to the leak. | XXX said leave it and go do another job
2025-09-09 09:11 | CC 08110213 RESTORED, 08108481 RESTORED, 08108663 NA, 08109234 NA, 08108483 RESTORED, 08108483 RESTORED
2025-09-09 09:41 |  | Name: XXX Email: XXX Landline: Mobile: XXX Additional location information: What do you need support with? No water or a change in pressure What issue are you experiencing with your water supply? No supply Is the problem you are reporting related to the address you have just provided? Yes Are you experiencing a problem with no water pressure at the hot tap, cold tap or both? Both Are all of the cold taps in the property affected or just some? All Have you just moved into the property? No When you're experiencing no water or poor pressure, there are a couple of simple tests you can complete at home to try and restore your supply Test failed to resolve the issue Have you had work done on your meter? No What is your property type? House Have you or a neighbour had work done on your property that may impact the water supply? No Are there any pets at the property? Yes Are there any hazards at the property? No | work complete
09/09/20255 07:34 | **THIS WAS LOGGED AT 08:00 BUT I CHANGED A COMMENT SO IT'S MOVED TO TOP. CML STAGES AND TIMES: 1: 02:57 - 09:00 X 4 PROPS REASON : REZONE LOCATION OF CAUSE: COWPE ROAD, COWPE, BB4 DMA: 224-01 WORK ORDER: 02092898 CUSTOMER CALLS ATTACHED TO EVENT: 11 NUMBER OF PROPERTIES AFFECTED: 4 POINT OF CONTACT: XXX ALTERNATIVE SUPPLY: ANY DELAYS: BRIEF SUMMARY OF EVENT: 10" CI MAINS REPAIR ON BURY ROAD, BB4. REZONE CARRIED OUT TO RESTORE SUPPLIES BEFORE REPAIRS WERE COMPLETE.

## 08111154
Date | Case note | Job request | Job comments
2025-09-08 12:46 | EVENTS TEAM TO INVESTIGATE NO WATERS IN THE BB4 AREA.
2025-09-08 12:50 | NO WATERS ARE DUE TO A LEAK ON HASLINGDEN OLD ROAD - NTS ARE ON SITE TRYING TO GET SUPPLIES RESTORED TO THE BB4 AREA.
2025-09-08 13:04 | RANG XXX AND HE ADIVSED XXX XXX ON A LEAK ON HASLINGDEN OLD ROAD - RANG XXX & LEFT VM.
2025-09-08 13:13 | CALLS FROM PA08 - ISSUE WITH LOGGER - IRRATIC & CAUSING NEGATIVE FIGURES PA07 - NORMAL PA04 - NORMAL PA03 - NORMAL DM02 METER LOOKS NORMAL FLOW. DM01 - FLOW USUALLY RUNS AROUND 0 BUT DOES HAVE PERIODS OF TIMES WHEN THERE IS A SPIKE BUT UNSURE WHY.
2025-09-08 13:29 | CC'S & CANCELLED APPTS // DUPLICATES - CASE: 7788962 06/07 - CASE: 7377091 23/04 // W/O & CASE PROMOTED // TT'S GROUPED //
2025-09-08 13:35 | LEFT VM WITH XXX
2025-09-08 14:00 | SOME CUSTS IN DMA: 224-01 MAY BE IMPACTED, NOT RAISED SEPARATE EVENT AS ALREADY AN ISSUE IN THAT AREA SO JUST MOVING OVER.
2025-09-08 14:11 | AS PER XXX XXX - GANG ARE ONSITE REPAIRING A LEAKING MAIN ON HASLINGDEN OLD ROAD, ROSSENDALE. XXX ARE TRYING TO GET ALL SUPPLIES RESTORED TO THE AREA.
2025-09-08 14:13 | XXX XXX AWARE OF NW CALLS, THOUGHT THEY SHOULD BE RESTORED, HE'S GOING TO CHECK NOW & TAKE ANY MANUAL PRESSURES IF NEEDED.
NEXT TRIGGER REVIEW DUE AT: 4HRS @ 16:21 HAS THIS BEEN ESCALATED TO ICCRM/ WNSO: XXX YES LOCATION: HASLINGDEN OLD ROAD WORK ORDER: 02093728 DMA: 221-02 CUSTOMER CALLS ATTACHED TO EVENT: 21 NUMBER OF PROPS IMPACTED: WC 281 PROPS POINT OF CONTACT: XXX GANG STATUS: ONSITE ALTERNATIVE SUPPLY: N/A ANY DELAYS: N/A BRIEF UPDATE ON EVENT: GANG REPAIRING LEAKING MAIN. SOME CALL COMING IN FROM DMA: 224-01 - NT MARTIN LEE HAS CONFIRMED THEY ARE RELATED AND HE'S CHECKING AS THEY SHOULD BE RESTORED.
2025-09-08 16:04 | AS PER XXX XXX - GANG ARE ONSITE REPAIRING A LEAKING MAIN ON HASLINGDEN OLD ROAD, ROSSENDALE. XXX ARE TRYING TO GET ALL SUPPLIES RESTORED TO THE AREA. W/O 02093728
2025-09-08 16:10 | I HAVE TRIED CALLING XXX FOR AN UPDATE BUT NO ANSWER
2025-09-08 16:19 | TRIED CALLING XXX - NO ANSWER
2025-09-08 16:27 |  | Leakline anon ﻿EAST LANCASHIRE RAILWAY, RAWTENSTALL STATION, BURY ROAD, RAWTENSTALL BB4 6AG Cust calling to report very bad leak spurting out of road in numerous places outside East Lancs Railway BB4. Checked system raised as P2 on RAP. Cancelled SA-3669299 and re-raised as P1 | Leak on junction of Haslingden Old Road and Newchurch Road Fw raised
2025-09-08 16:37 | I HAVE ESCALATED TO XXX THAT WE REQUIRE AN UPDATE FROM XXX ONSITE ASAP AND HE IS NOT ANSWERING // XXX TRIED CALLING HIM AGAIN - NO ANSWER
2025-09-08 17:01 | CHASED GANG (GRANT 07713335653) - ADVISED, TM HAS JUST FINISHED BEING SET UP AND THEY ARE ABOUT TO COMMENCE REPAIRS - XXX XXX IS THERE TO ASSIST
2025-09-08 17:04 | NOT REQUESTED BW YET AS I BELIEVE THE CML BEING RAN FOR THIS IS WRONG AS THERE IS PRESSURE AT THE CMP SO NO NEED TO RUN FOR W/C I WILL WORK OUT CORRECT PROP COUNT SHORTLY WHEN I GET THE TIME
2025-09-08 17:25 | CMP DATA IS TOO ERRATIC TO WORK OUT ELEVATIONS -
2025-09-08 17:28 | ACCORDING TO ELAVATIONS FOR PA08 CMP WENT TO 7M AT LOWEST EARLIER ON TODAY AND EVENT AT THIS TIME THERE SHOULD HAVE BEEN NOBODY OFF FOT THIS PRESSURE AREA - PA08 DID GO TO 0 FROM 16:45 - 17:00 BUT HAS NOW GONE BACK UP TO 145M PRESSURE // DUE TO THE OVERALL ERRATIC BEHAVIOUR OF CMP I AM NOT REQUESTING BW AND AM RUNNING BASED ON CALLS AGRRED WITH XXX
2025-09-08 17:31 | AS PER GANG, TM IS NOW SET UP AND THEY HAVE NOW COMMENCED REPAIRS TO LEAKING MAIN ON HASLINGDEN OLD ROAD, BB4 // XXX XXX ONSITE TO ASSIST CUSTOMERS MAY EXPERIENCE PP/ NW DURING THIS TIME W/O 02093728
2025-09-08 21:33 | GANG ARE STILL ONSITE CARRYING OUT REPAIRS TO LEAKING 4'' MAIN ON HASLINGDEN OLD ROAD, BB4 // XXX XXX ONSITE TO ASSIST CUSTOMERS MAY EXPERIENCE PP/ NW DURING THIS TIME W/O 02093728
2025-09-09 01:14 | AS PER CALL TO XXX REPAIRS COMPLETED AND MAINS CHARGED HOWEVER THERE IS A 2ND LEAK AND WATER HAS BEEN SHUT OFF AGAIN. GANG HAVE GONE BACK TO SITE FOR PARTS, POSSIBLY MAY NEED TO SHUT THE ROAD
2025-09-09 01:35 | AS PER CALL TO XXX REPAIRS COMPLETED AND MAINS CHARGED HOWEVER THERE IS A 2ND LEAK AND WATER HAS BEEN SHUT OFF AGAIN. GANG HAVE GONE BACK TO SITE FOR PARTS, POSSIBLY MAY NEED TO SHUT THE ROAD
2025-09-09 01:36 | GANG HAVE REPAIRED THE LEAKING 4'' MAIN ON HASLINGDEN OLD ROAD, BB4 // ON CHARGING A 2ND LEAK FURTHER DOWN THE ROAD HAS BEEN LOCATED GANG ARE NOW BACK ON SITE AFTER LEAVING FOR PARTS CUSTOMERS MAY EXPERIENCE PP/ NW DURING THIS TIME W/O 02093728
2025-09-09 02:12 | AS PER CALL TO GRANT GANG ARE BACK ON SITE
2025-09-09 04:35 | GANG HAVE REPAIRED THE LEAKING 4'' MAIN ON HASLINGDEN OLD ROAD, BB4 // AND ON CHARGING A 2ND LEAK FURTHER DOWN THE ROAD HAS BEEN LOCATED DUE TO THE LOCATION OF THE SECOND LEAK A FULL ROAD CLOSURE AND TRAFFIC MANAGEMENT IS NEEDED TO ENSURE OUR GANG CAN START REPAIRS SAFELY 4 PROPS WILL BE WITHOUT SUPPLY W/O 02093728
2025-09-09 04:39 | EVENT ID: 08111154 CML STAGES AND TIMES: 18HRS AT 07:02 LOCATION: 4" MAIN IN BURNLEY ROAD JCT HASLINGDEN OLD ROAD WORK ORDER: SA-3671787 DMA: 221-02 NUMBER OF PROPS IMPACTED: 4 PROPS POINT OF CONTACT: XXX TO BE CONFIRMED GANG STATUS: REQUESTED ALSO DEPENDS ON TM AND ROAD CLOSURE- FIRST JOB ALTERNATIVE SUPPLY: REQUESTED BOTTLED WATER TO BE DELIVERED TO CUSTOMERS - SA-3671623 ADDRESSES ON THE JOB BRIEF UPDATE ON EVENT: GANG HAS REPAIRED BURST ON HASLINGDEN ROAD BB4 AND ON CHARGING, A SECOND BURST ON THE NEXT LANE NEAR THE EXCAVATION XXX WAS KEEN TO GET THE REPAIR FO THIS SECOND LEAK DONE IN THE NIGHT BUT IT REQUIRES A FULL ROAD CLOSURE AND IT IS A MAIN TRAFFIC ROUTE. GTM HAV EINFORMED HIM IT REQUIRES AN IPV (IMPACT PROTECTION VEHICLE) TO PLACE THE DIVERSION IN PLACE WHICH NEEDS AUTHORISATION OFF A MANAGER (IN THE MORNING). GANGS JOB SA-3671748 THE PLAN IS TO LEAVE THE SHUT OFF IN PLACE. GTM ARE GOING TO PUT THE ROAD CLOSURE/DIVERSION IN FIRST THING IN THE MORNING. THE GANG HAVE BEEN RESCHEDULED TO REATTEND AND AN NT TO ASSIST.
2025-09-09 07:45 | REPAIRS TO THE LEAK ON HASLINGDEN OLD ROAD WERE COMPLETED OVERNIGHT BUT THERE IS NOW A 2ND LEAK JCN BURNLEY ROAD & HASLINGDEN OLD RD. 4 PROPS ARE IMPACTED & BOTTLED WATER HAS BEEN REQUESTED. W/O 02094255 RELATES.
2025-09-09 08:08 | UNSURE OF CML TIMES AND WHEN SUPPLIES WERE RESTORED. XXX XXX IS GOING TO HAVE A LOOK & WORK OUT.
2025-09-09 08:50 | RANG GANG FOR ETA NO ANSWER. XXX XXX IS ONSITE - LEFT VM TO UPDATE.
2025-09-09 08:51 | GANG TO ATTEND & REPAIR A SECOND LEAK ON THE 4" MAIN ON HASLINGDEN OLD RD JCN BURNLEY ROAD, BB4. 4 PROPS ARE IMPACTED & BOTTLED WATER REQUESTED. ALL OTHER SUPPLIES SHOULD BE RESTORED VIA ASV'S ON SITE.
2025-09-09 09:01 | AS PER XXX - GANG APPROX 30 MINS AWAY.
2025-09-09 09:39 | AS PER XXX XXX - GANG ARE NOW ON SITE TO REPAIR LEAKING 4" MAIN JCN HASLINGDEN OLD ROAD. 4 PROPS IMPACTED. ALL OTHER CUSTOMERS ARE BEING KEPT RESTORED VIA ASV'S.
2025-09-09 09:41 | AS PER XXX XXX - ASV IS CLOSE TO RUNNING OUT OF WATER SO HE'S GOING TO HEAD OVER TO THEM TO OPEN A VALVE - MAY START GETTING NO WATERS.
2025-09-09 10:34 | AS PER XXX XXX - SHES GONE TO DELIVER THE BOTTLED WATER AND THINKS NO'S XX, XX, XX, XX HASLINGDEN OLD RD ARE WITHOUT WATER. ASKED WHAT SHE SHOULD DO. ADVISED XXX ON SITE SO TO SPK TO HIM & ALSO INFORMED XXX XXX.
2025-09-09 10:44 | LM WITH XXX XXX TO ADVISE OF EXTRA 4 PROPS THAT MAY BE IMPACTED.
2025-09-09 11:05 | CC 08114175 LEFT VM // CC 08112447 LEFT VM // CC 08111954 LEFT VM .
2025-09-09 11:12 |  | SS 08/09 20:49 CA-02049755 - From : XXX (CIT) Job raised as per comments below : AS PER XXX CAN BW BE ARRANGED FOR BELOW PROPS PLEASE X Gladstone Buildings BB4 X Haslingden Old Road BB4 X X Haslingden Old Road BB4 X X Burnley Road BB4 X Maddisons Apartments X Burnley Road BB4 X | water delivered as per job request , no XX-XX empty props also deliverd to no's XX/XX/XX/XX
2025-09-09 11:35 | GANG ARE STILL ON SITE REPAIRING THE LEAKING 4" MAIN JCN HASLINGDEN OLD RD & BURNLEY RD. 4 PROPS IMPACTED.
2025-09-09 11:37 | AS PER XXX XXX - REPAIRS TO THE LEAKING 4" MAIN ARE NOW COMPLETE & SUPPLIES RESTORED AT 11:37
2025-09-09 11:51 | CC 8111669 RESTORED // NO OTHER CUSTS TO CALL WHO WOULD HAVE BEEN IMPACTED WITH FINAL STAGE.
2025-09-09 12:41 | GROUPED IN CASE: 8114838 - PLUMBER HAD BEEN REQUESTED OVERNIGHT BUT LOOKS LIKE THEY COULD HAVE BEEN IMPACTED BY THE BURST. PLUMBER IS ON SITE SO WAITING FOR CONFIRMATION.
2025-09-09 12:55 | XXX XXX SAID HE DIDN'T TAKE MANUAL PRESSURE TO CONFIRM IF THE 4 PROPS ON HASLINGDEN OLD RD WERE IMPACTED AS HE STARTED TO RECHARGE THE MAIN.
2025-09-09 12:49 | AS DISCUSSED WITH XXX XXX - CML DIFFICULT TO WORK OUT SO WILL NEED VALIDATING. STAGE 1 WORKED OUT PURELY ON CUST AT 13:18 SAYING SUPPLY RESTORED. CML STAGE: 12:21 - 13:18 X 276 PROPS - WILL NEED VALIDATING AS PER XXX. CML STAGE 2: 12:21 - 11:37 X 5 PROPS - LEAK REPAIRED.
2025-09-09 13:10 |  | Description AS PER XXX , JOB RAISED FOR WNT TO ASSIST GANG ON EVENT 08111154 | Main repaired and back on at 11:35am on 09/09/25
2025-09-09 13:02 | CML STAGES AND TIMES: 1: 12:21-13:18 X 276 PROPS NEEDS VALIDATING 2: 12:21-11:37 X 5 PROPS REASON: LEAK REPAIRED LOCATION OF CAUSE: HASLINGDEN OLD ROAD JCN BURNLEY ROAD, BB4 DMA: 221-02 & 224-01 WORK ORDER: 2093728 & 2094255 CUSTOMER CALLS ATTACHED TO EVENT: 22 NUMBER OF PROPERTIES AFFECTED: 281 POINT OF CONTACT: XXX ALTERNATIVE SUPPLY: NO ANY DELAYS: SECOND LEAK COULDN'T BE REPAIRED UNTIL THE MORNING DUE TO FULL ROAD CLOSURE NEEDED AS PER COMMENTS. BRIEF SUMMARY OF EVENT: FIRST LEAK REPAIRED THEN SECOND LEAK ON THE 4" MAIN WAS REPAIRED THE NEXT MORNING
2025-09-09 15:10 |  | 4 HR RAISED FOR 1ST JOB IN THE MORNING 09/09/25 DAY GANG TO REPAIR SECOND LEAK ON 4" MAIN IN BURNLEY ROAD JCT HASLINGDEN OLD ROAD ONCE ROAD CLOSURE IS IN PLACE. | Extended original dig by grant found split in main cut it out and pieced through