## Results Table Template
|  |  | ALKA | ALUM | AMMO | ANTI | ARSE | BARI | BBF | BDCM | BENZ | BEPE | BEPY | BKF | BRAT | BORO | CADM | CALC | CHRO | CHTO | CLFR | COL3 | COLI | COLO | COND | COPP | CPEC | DBCM | DCLE | ECOL | FASC | HARD | FLUO | INDP | IRON | LEAD | MAGN | MANG | NICK | NITI | NITR | NNCB | NTOX | ODOQ | PAH4 | PH | PHUS | SELE | SODI | TASQ | TBME | TCET | TCME | THMS | TRCM | TRET | TTET | TURB
Sample Date | Sample Time | Sample Location | Alkalinity | Aluminium (µg/l) | Ammonium (ammonia and ammonium ions) (mg/l) | Antimony (µg/l) | Arsenic (µg/l) | Barium (µg Ba/l) | Benzo(b) fluoranthene (µg/l) | Bromodichloromethane ((µg/l) | Benzene (µg/l) | Benzo (ghi) perylene (µg/l) | Benzo (a)pyrene (µg/l) | Benzo(k) fluoranthene (µg/l) | Bromate (µg/l) | Boron (µg/l) | Cadmium (µg/l) | Calcium (mg/l) | Chromium (µg/l) | Total chlorine(mg/l) | Free chlorine(mg/l) | Colony 3 Day at 22˚C (number/ml) | Coliform bacteria (number/100ml) | Colour (Hazen) | Conductivity (µS/cm | Copper (µg/l) | Clostridium perfringens (number/100ml) | Dibromochloromethane (µg/l) | 1,2-dichloroethane (µg/l) | E.coli (Number/100ml) | Enterococci (number/100ml) | Total Hardness as calcium carbonate (mg/l) | Fluoride (mg/l) | Indeno( 1,2,3-cd perylene (µg/l) | Iron (µg/l) | Lead (µg/l) | Magnesium (mg/l) | Manganese (µg/l) | Nickel (µg/l) | Nitrite as nitrogen (mg/l) | Nitrate as nitrogen (mg/l) | Nitrate/50+Nitrite/3 | Total oxidised nitrogen | Odour (Quantitative) | Polycyclic aromatic hydrocarbons | Hydrogen ion (pH) | Phosphate as P (µg/l) | Selenium (µg/l) | Sodium (mg/l) | Taste (Quantitative) | Tribromomethane (µg/l) | Tetrachloroethene (µg/l) | Tetrachloromethane (µg/l) | Trihalomethanes (µg/l): Total | Trichloromethane (µg/l) | Trichloroethene (µg/l) | Trichloroethene plus tetrachloroethene | Turbidity (NTU)
2024-08-02 | 11:25 | WSZ 101 - Accrington West | - | 11.2 | - | - | - | - | - | - | - | - | - | - | 0.33 | - | - | 8.38 | - | 0.61 | 0.57 | - | 0 | - | - | 10.4 | - | - | - | 0 | - | 24.6 | - | - | 10 | 0.55 | 0.89 | 2.27 | 0.77 | - | - | - | - | - | - | 7.27 | 1290 | - | - | - | - | - | - | - | - | - | - | -
2024-08-07 | 12:36 | WSZ 101 - Accrington West | - | - | 0.025 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.56 | 0.47 | 0 | 0 | - | - | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | 0.0023 | 0.46 | 0.027 | 0.46 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
2024-08-13 | 9:43 | WSZ 101 - Accrington West | - | 16.5 | - | - | - | - | - | - | - | - | - | - | - | - | - | 8.59 | - | 0.57 | 0.5 | 0 | 0 | - | - | - | - | - | - | 0 | - | 25.2 | - | - | 7 | - | 0.91 | 0.72 | - | - | - | - | - | - | - | 7.33 | 1020 | - | 4.48 | - | - | - | - | - | - | - | - | -
2024-08-15 | 10:33 | WSZ 101 - Accrington West | - | - | - | 0.31 | 0.48 | - | - | - | - | - | - | - | - | - | 0.09 | - | 0.83 | 0.58 | 0.5 | - | 0 | 1.21 | 68.2 | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | 1 | - | - | - | 0.85 | - | 1 | - | - | - | - | - | - | - | 0.16
2024-08-20 | 10:05 | WSZ 101 - Accrington West | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.37 | 0.36 | - | 0 | 2.04 | 67.9 | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 7.22 | - | - | - | - | - | - | - | - | - | - | - | 0.2
2024-08-21 | 9:12 | WSZ 101 - Accrington West | 17.2 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.43 | 0.38 | - | 0 | 1.21 | 69.9 | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | 1 | - | - | - | - | - | 1 | - | - | - | - | - | - | - | 0.16
2024-08-23 | 10:45 | WSZ 101 - Accrington West | - | 12.8 | - | - | - | - | - | - | - | - | - | - | - | - | - | 8.32 | - | 0.56 | 0.49 | 0 | 0 | - | - | - | - | - | - | 0 | - | 24.4 | - | - | 7 | - | 0.88 | 2.47 | - | - | - | - | - | - | - | - | 1020 | - | - | - | - | - | - | - | - | - | - | -
2024-08-27 | 10:37 | WSZ 101 - Accrington West | 24.8 | 10.8 | - | - | - | - | - | - | - | - | - | - | - | - | - | 8.45 | - | 0.59 | 0.53 | - | 0 | - | - | - | - | - | - | 0 | - | 24.7 | - | - | 7 | - | 0.87 | 1.76 | - | - | - | - | - | - | - | 7.38 | 974 | - | - | - | - | - | - | - | - | - | - | -
2024-08-28 | 8:15 | WSZ 101 - Accrington West | - | - | - | - | - | - | - | 7.7 | - | 0.003 | 0.002 | 0.002 | - | - | - | - | - | 0.64 | 0.58 | - | 0 | - | - | - | - | 1.5 | - | 0 | - | - | - | 0.004 | - | - | - | - | - | - | - | - | - | 1 | - | - | - | - | - | 1 | 1.6 | 0.73 | 0.38 | 36.5 | 28.8 | 0.59 | 0 | -
2024-09-03 | 16:22 | WSZ 101 - Accrington West | - | 11.5 | - | - | - | - | - | - | - | - | - | - | - | - | - | 8.43 | - | 0.65 | 0.58 | - | 0 | - | - | - | - | - | - | 0 | - | 24.9 | - | - | 7 | - | 0.95 | 2.06 | - | - | - | - | - | 1 | - | 7.34 | 1180 | - | - | 1 | - | - | - | - | - | - | - | -
2024-09-10 | 10:42 | WSZ 101 - Accrington West | - | - | 0.025 | 0.31 | 0.48 | - | 0.002 | - | - | - | - | - | 0.33 | - | 0.09 | - | 0.83 | 0.61 | 0.52 | - | 0 | - | - | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | 0.0023 | 0.46 | 0.025 | 0.46 | - | 0 | - | - | 0.85 | - | - | - | - | - | - | - | - | - | -
2024-09-12 | 10:00 | WSZ 101 - Accrington West | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.84 | 0.81 | 0 | 0 | 1.21 | 66.7 | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.16
2024-09-14 | 9:16 | WSZ 101 - Accrington West | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.83 | 0.76 | 0 | 0 | - | - | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | 1 | - | 7.12 | - | - | - | 1 | - | - | - | - | - | - | - | -
2024-09-16 | 10:06 | WSZ 101 - Accrington West | - | - | - | - | - | - | 0.002 | 8.4 | - | 0.003 | 0.002 | 0.002 | - | - | - | - | - | 0.56 | 0.49 | 0 | 0 | - | - | - | - | 1.3 | - | 0 | - | - | - | 0.004 | - | - | - | - | - | - | - | - | - | - | 0 | - | - | - | - | - | 1.4 | 1.1 | 0.67 | 43.9 | 35.5 | 0.83 | 0 | -
2024-09-17 | 15:27 | WSZ 101 - Accrington West | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.36 | 0.26 | - | 0 | - | - | 10.4 | - | - | - | 0 | - | - | - | - | - | 0.55 | - | - | 0.77 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
2024-09-18 | 14:44 | WSZ 101 - Accrington West | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  | - | - | - | - | - | - |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
2024-09-20 | 10:59 | WSZ 101 - Accrington West | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.67 |  | - | 0 | 1.21 | 66.2 | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.16
2024-09-25 | 15:48 | WSZ 101 - Accrington West | - | 10.7 | - | - | - | - | - | - | - | - | - | - | - | - | - | 8.63 | - | 0.55 | 0.49 | - | 0 | - | - | - | - | - | - | 0 | - | 25.7 | - | - | 3.4 | - | 1 | 1.51 | - | - | - | - | - | 1 | - | 7.39 | 1190 | - | 4.23 | 1 | - | - | - | - | - | - | - | -
2024-10-02 | 13:00 | WSZ 101 - Accrington West | - | - | 0.042 | 0.31 | 0.48 | - | - | - | - | - | - | - | - | - | 0.09 | - | 0.83 | 0.64 | 0.53 | 0 | 0 | - | - | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | 0.003 | 0.55 | 0.012 | 0.55 | - | - | - | - | 0.85 | - | - | - | - | - | - | - | - | - | -
2024-10-09 | 11:49 | WSZ 101 - Accrington West | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.45 | 0.4 | 0 | 0 | 2.04 | 66.2 | - | 0 | - | - | 0 | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.2
2024-10-10 | 12:23 | WSZ 101 - Accrington West | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.6 | 0.55 | - | 0 | 1.21 | 67.8 | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | 1 | - | - | - | - | - | 1 | - | - | - | - | - | - | - | 0.16
2024-10-14 | 9:30 | WSZ 101 - Accrington West | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.71 | 0.64 | 0 | 0 | 1.21 | 68.8 | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 7.19 | - | - | - | - | - | - | - | - | - | - | - | 0.16
2024-10-15 | 10:01 | WSZ 101 - Accrington West | - | 10.8 | - | - | - | - | - | - | - | - | - | - | - | - | - | 8 | - | 0.48 | 0.4 | - | 0 | - | - | - | - | - | - | 0 | - | 24.1 | - | - | 3.8 | - | 1 | 1.1 | - | - | - | - | - | - | - | 7.3 | 1180 | - | 4.4 | - | - | - | - | - | - | - | - | -
2024-10-18 | 15:59 | WSZ 101 - Accrington West | - | 8.99 | - | - | - | - | - | - | - | - | - | - | - | - | - | 8.37 | - | 0.71 |  | - | 0 | - | - | - | - | - | - | 0 | - | 24.8 | - | - | 7 | - | 0.95 | 1.32 | - | - | - | - | - | 1 | - | - | 1140 | - | - | 1 | - | - | - | - | - | - | - | -
2024-10-23 | 12:59 | WSZ 101 - Accrington West | - | 10.1 | - | - | - | - | - | - | - | - | - | - | 0.33 | - | - | 8.27 | - | 0.59 | 0.55 | 0 | 0 | - | - | - | - | - | - | 0 | - | 24.6 | - | - | 7 | - | 0.96 | 1.37 | - | - | - | - | - | - | - | - | 1160 | - | - | - | - | - | - | - | - | - | - | -
2024-10-25 | 8:18 | WSZ 101 - Accrington West | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.89 | 0.73 | - | 0 | - | - | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
2024-10-26 | 9:44 | WSZ 101 - Accrington West | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.4 | 0.31 | 0 | 0 | - | - | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
2024-10-28 | 11:37 | WSZ 101 - Accrington West | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.7 | 0.67 | - | 0 | 1.21 | 69.1 | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.2
2024-10-29 | 12:07 | WSZ 101 - Accrington West | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.65 | 0.6 | 0 | 0 | - | - | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
2024-10-30 | 9:58 | WSZ 101 - Accrington West | - | - | 0.025 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.58 | 0.51 | 0 | 0 | - | - | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | 0.0023 | 0.46 | 0.02 | 0.46 | - | - | 7.16 | - | - | - | - | - | - | - | - | - | - | - | -
2024-10-31 | 10:51 | WSZ 101 - Accrington West | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.7 | 0.66 | - | 0 | - | - | 10.4 | - | - | - | 0 | - | - | - | - | - | 1.86 | - | - | 0.77 | - | - | - | - | 1 | - | - | - | - | - | 1 | - | - | - | - | - | - | - | -
2024-11-14 | 9:13 | WSZ 101 - Accrington West | - | - | - | - | - | - | 0.002 | 9.7 | - | 0.003 | 0.002 | 0.002 | - | - | - | - | - | 0.5 | 0.42 | 0 | 0 | - | - | - | - | 1.8 | - | 0 | - | - | - | 0.004 | - | - | - | - | - | - | - | - | - | - | 0 | - | - | - | - | - | 1.6 | 0.73 | 0.38 | 48.3 | 36.8 | 0.59 | 0 | -
2024-11-21 | 9:58 | WSZ 101 - Accrington West | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.72 | 0.68 | 0 | 0 | 2.04 | 68.1 | 10.4 | 0 | - | - | 0 | 0 | - | - | - | - | 0.55 | - | - | 0.77 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.2
2024-11-22 | 10:40 | WSZ 101 - Accrington West | - | 6.22 | - | - | - | - | - | - | - | - | - | - | - | - | - | 8.12 | - | 0.39 | 0.29 | - | 0 | 2.04 | 70 | - | - | - | - | 0 | - | 24.2 | - | - | 7 | - | 0.96 | 0.97 | - | - | - | - | - | 1 | - | 7.07 | 1120 | - | - | 1 | - | - | - | - | - | - | - | 0.16
2024-11-25 | 15:00 | WSZ 101 - Accrington West | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.76 | 0.74 | - | 0 | - | - | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | 1 | - | 7.39 | - | - | - | 1 | - | - | - | - | - | - | - | -
2024-11-26 | 12:12 | WSZ 101 - Accrington West | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.71 | 0.61 | - | 0 | 1.21 | 70 | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.16
2024-11-28 | 10:26 | WSZ 101 - Accrington West | - | 7.4 | - | 0.31 | 0.48 | - | - | - | - | - | - | - | - | - | 0.09 | 7.84 | 0.83 | 0.92 | 0.85 | - | 0 | - | - | - | - | - | - | 0 | - | 23.5 | - | - | 7 | - | 0.95 | 0.77 | - | - | - | - | - | - | - | - | 1150 | 0.85 | - | - | - | - | - | - | - | - | - | -
2024-12-09 | 9:59 | WSZ 101 - Accrington West | 15.4 | 10.7 | - | - | - | - | - | - | - | - | - | - | - | - | - | 7.33 | - | 0.52 | 0.44 | 0 | 0 | - | - | - | - | - | - | 0 | - | 22 | - | - | 7 | - | 0.9 | 0.89 | - | - | - | - | - | 1 | - | - | 1140 | - | - | 1 | - | - | - | - | - | - | - | -
2024-12-10 | 10:14 | WSZ 101 - Accrington West | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.61 | 0.46 | - | 0 | - | - | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
2024-12-11 | 14:22 | WSZ 101 - Accrington West | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.68 | 0.63 | - |  | - | - | - | - | - | - |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
2024-12-16 | 11:25 | WSZ 101 - Accrington West | - | 10.5 | - | - | - | - | - | - | - | - | - | - | - | - | - | 6.51 | - | 0.73 | 0.71 | - | 0 | 1.21 | 68 | - | - | - | - | 0 | - | 20 | - | - | 7 | - | 0.9 | 0.78 | - | - | - | - | - | 1 | - | - | 1150 | - | 6.46 | 1 | - | - | - | - | - | - | - | 0.16
2024-12-17 | 13:29 | WSZ 101 - Accrington West | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.61 | 0.58 | - |  | - | - | - | - | - | - |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 7.17 | - | - | - | - | - | - | - | - | - | - | - | -
2024-12-18 | 11:38 | WSZ 101 - Accrington West | - | - | - | - | - | - | 0.002 | 6.3 | - | 0.003 | 0.002 | 0.002 | 0.45 | - | - | - | - | 0.63 | 0.58 | 0 | 0 | - | - | 10.4 | 0 | 1.5 | - | 0 | 0 | - | - | 0.004 | - | 0.55 | - | - | 0.77 | - | - | - | - | 1 | 0 | 7.28 | - | - | - | 1 | 1.6 | 0.73 | 0.38 | 31.6 | 25.3 | 0.59 | 0 | -
2024-12-19 | 9:59 | WSZ 101 - Accrington West | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  | 2.04 | 67.8 | 10.4 | - | - | - |  | - | - | - | - | - | 0.55 | - | - | 0.77 | - | - | - | - | 1 | - | 7.3 | - | - | - | 1 | - | - | - | - | - | - | - | 0.2
2025-01-03 | 14:09 | WSZ 101 - Accrington West | 16.2 | 10.2 | - | - | - | - | - | 6.3 | - | - | - | - | - | - | - | 7.59 | - | 0.56 | 0.53 | - | 0 | - | - | - | - | 1.3 | - | 0 | - | 22.7 | - | - | 7 | - | 0.9 | 0.82 | - | - | - | - | - | 1 | - | 7.12 | 1130 | - | - | 1 | 1.4 | 1.1 | 0.67 | 29 | 22.8 | 0.83 | 0 | -
2025-01-06 | 10:06 | WSZ 101 - Accrington West | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.66 | 0.57 | - | 0 | 2.04 | 68.3 | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 7.23 | - | - | - | - | - | - | - | - | - | - | - | 0.2
2025-01-07 | 13:57 | WSZ 101 - Accrington West | - | - | - | - | - | - | 0.006 | 4.3 | - | 0.004 | 0.002 | 0.006 | - | - | - | - | - | 0.9 | 0.75 | - | 0 | - | - | - | - | 1.5 | - | 0 | - | - | - | 0.004 | - | - | - | - | - | - | - | - | - | - | 0 | - | - | - | - | - | 1.6 | 0.73 | 0.38 | 20.4 | 16.1 | 0.59 | 0 | -
2025-01-09 | 9:38 | WSZ 101 - Accrington West | - | 7.78 | - | - | - | - | - | - | - | - | - | - | - | - | - | 7.82 | - | 1.04 | 0.8 | - | 0 | - | - | - | - | - | - | 0 | - | 23.4 | - | - | 7 | - | 0.94 | 0.52 | - | - | - | - | - | 1 | - | - | 1140 | - | 5.11 | 1 | - | - | - | - | - | - | - | -
2025-01-10 | 10:56 | WSZ 101 - Accrington West | - | 10.9 | - | - | - | - | - | - | - | - | - | - | 0.47 | - | - | 7.53 | - | 0.68 | 0.63 | - | 0 | 2.08 | 68.2 | - | - | - | - | 0 | - | 23 | - | - | 4.7 | - | 1.01 | 1.33 | - | - | - | - | - | 1 | - | 7.04 | 1170 | - | - | 1 | - | - | - | - | - | - | - | 0.1
2025-01-13 | 11:13 | WSZ 101 - Accrington West | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.98 | 0.86 | 0 | 0 | - | - | - | 0 | - | - | 0 | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
2025-01-14 | 9:52 | WSZ 101 - Accrington West | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.79 | 0.66 | 0 | 0 | - | - | - | 0 | - | - | 0 | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
2025-01-17 | 10:06 | WSZ 101 - Accrington West | - | 12.5 | - | 0.31 | 0.48 | - | - | - | - | - | - | - | 0.64 | - | 0.09 | 7.52 | 0.83 | 0.89 | 0.76 | 0 | 0 | 2.08 | 67.9 | - | - | - | - | 0 | - | 22.5 | - | - | 7 | - | 0.91 | 0.99 | - | - | - | - | - | - | - | - | 1150 | 0.85 | - | - | - | - | - | - | - | - | - | 0.1
2025-01-21 | 11:14 | WSZ 101 - Accrington West | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.71 | 0.69 | - | 0 | - | - | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | 1 | - | 7.78 | - | - | - | 1 | - | - | - | - | - | - | - | -
2025-01-22 | 11:16 | WSZ 101 - Accrington West | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.8 | 0.76 | 0 | 0 | - | - | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
2025-01-28 | 10:15 | WSZ 101 - Accrington West | - | 10.9 | - | - | - | - | - | - | - | - | - | - | - | - | - | 7.89 | - | 0.74 | 0.73 | - | 0 | 2.04 | 67.5 | - | - | - | - | 0 | - | 23.8 | - | - | 7 | - | 0.99 | 0.64 | - | - | - | - | - | 1 | - | 7.16 | 1150 | - | - | 1 | - | - | - | - | - | - | - | 0.2
2025-01-29 | 16:33 | WSZ 101 - Accrington West | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.54 | 0.52 | - | 0 | - | - | 10.4 | - | - | - | 0 | - | - | - | - | - | 0.55 | - | - | 0.77 | - | - | - | - | 1 | - | 7.04 | - | - | - | 1 | - | - | - | - | - | - | - | -
2025-01-30 | 10:53 | WSZ 101 - Accrington West | 15 | - | 0.042 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.74 | 0.66 | - | 0 | - | - | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | 0.003 | 0.55 | 0.032 | 0.55 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
2025-01-31 | 9:41 | WSZ 101 - Accrington West | - | - | - | - | - | - | 0.006 | 4.5 | - | 0.004 | 0.002 | 0.006 | - | - | - | - | - | 0.89 | 0.84 | 1 | 0 | 2.08 | 68.5 | - | - | 1.5 | - | 0 | - | - | - | 0.004 | - | - | - | - | - | - | - | - | - | - | 0 | 7.04 | - | - | - | - | 1.6 | 0.73 | 0.38 | 21.2 | 16.8 | 0.59 | 0 | 0.1
2025-02-03 | 9:17 | WSZ 101 - Accrington West | - | 13.1 | - | - | - | - | - | - | - | - | - | - | - | - | - | 7.95 | - | 0.6 | 0.55 | 0 | 0 | 2.08 | 69.3 | - | - | - | - | 0 | - | 23.8 | - | - | 7 | - | 0.96 | 0.85 | - | - | - | - | - | - | - | - | 1170 | - | - | - | - | - | - | - | - | - | - | 0.1
2025-02-04 | 16:05 | WSZ 101 - Accrington West | - | 15.1 | - | - | - | - | - | - | - | - | - | - | - | - | - | 7.56 | - | 0.65 | 0.55 | - | 0 | - | - | - | - | - | - | 0 | - | 22.8 | - | - | 7 | - | 0.95 | 0.64 | - | - | - | - | - | - | - | - | 1150 | - | - | - | - | - | - | - | - | - | - | -
2025-02-07 | 10:36 | WSZ 101 - Accrington West | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.64 | 0.57 | - | 0 | - | - | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
2025-02-15 | 9:07 | WSZ 101 - Accrington West | - | 12.4 | - | - | - | - | - | - | - | - | - | - | - | - | - | 7.88 | - | 0.88 | 0.85 | 0 | 0 | - | - | - | - | - | - | 0 | - | 23.8 | - | - | 7 | - | 1.01 | 0.86 | - | - | - | - | - | 1 | - | 7.23 | 1170 | - | 5.53 | 1 | - | - | - | - | - | - | - | -
2025-02-15 | 9:08 | WSZ 101 - Accrington West | - | 12.3 | - | 0.31 | 0.48 | - | - | - | - | - | - | - | - | - | 0.09 | 8.27 | 0.83 | 0.75 | 0.61 | 0 | 0 | 1.75 | 72.4 | - | - | - | - | 0 | - | 24.7 | - | - | 7 | - | 0.99 | 0.47 | - | - | - | - | - | - | - | 7.1 | 1160 | 0.85 | - | - | - | - | - | - | - | - | - | 0.19
2025-02-24 | 11:25 | WSZ 101 - Accrington West | - | 15.4 | - | - | - | - | - | - | - | - | - | - | - | - | - | 7.98 | - | 0.87 | 0.7 | - | 0 | 2.08 | 71.3 | - | - | - | - | 0 | - | 24.1 | - | - | 7 | - | 1 | 0.6 | - | - | - | - | - | 1 | - | - | 1140 | - | - | 1 | - | - | - | - | - | - | - | 0.1
2025-02-26 | 11:28 | WSZ 101 - Accrington West | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.56 | 0.54 | - | 0 | 1.75 | 70.6 | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.19
2025-02-27 | 10:39 | WSZ 101 - Accrington West | 14.5 | - | - | - | - | - | 0.006 | 4.7 | - | 0.004 | 0.002 | 0.006 | - | - | - | - | - | 0.8 | 0.76 | 0 | 0 | - | - | - | - | 1.3 | - | 0 | - | - | - | 0.004 | - | - | - | - | - | - | - | - | - | - | 0 | - | - | - | - | - | 1.4 | 1.1 | 0.67 | 23.7 | 19 | 0.83 | 0 | -
2025-03-01 | 10:18 | WSZ 101 - Accrington West | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.74 | 0.71 | - | 0 | - | - | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 7.09 | - | - | - | - | - | - | - | - | - | - | - | -
2025-03-07 | 10:32 | WSZ 101 - Accrington West | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.76 | 0.7 | 0 | 0 | - | - | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
2025-03-11 | 10:11 | WSZ 101 - Accrington West | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.94 | 0.89 | - | 0 | 1.75 | 71.3 | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 7.22 | - | - | - | - | - | - | - | - | - | - | - | 0.19
2025-03-17 | 11:34 | WSZ 101 - Accrington West | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.93 | 0.87 | - | 0 | - | - | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | 1 | - | - | - | - | - | 1 | - | - | - | - | - | - | - | -
2025-03-21 | 9:34 | WSZ 101 - Accrington West | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.91 | 0.87 | - | 0 | 2.08 | 70.8 | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.1
2025-03-28 | 10:07 | WSZ 101 - Accrington West | - | 7.65 | - | 0.31 | 0.48 | - | - | - | - | - | - | - | - | - | 0.09 | 7.65 | 0.83 | 0.95 | 0.87 | 0 | 0 | - | - | - | - | - | - | 0 | - | 23.3 | - | - | 7 | - | 1.02 | 0.87 | - | - | - | - | - | 1 | - | 7.5 | 1130 | 0.85 | 5.5 | 1 | - | - | - | - | - | - | - | -
2025-03-31 | 9:28 | WSZ 101 - Accrington West | - | 9.33 | - | - | - | - | - | - | - | - | - | - | 0.64 | - | - | 7.93 | - | 0.95 | 0.89 | - | 0 | - | - | - | - | - | - | 0 | - | 24.2 | - | - | 2.8 | - | 1.07 | 0.46 | - | - | - | - | - | - | - | 7.48 | 1180 | - | - | - | - | - | - | - | - | - | - | -
2025-04-02 | 11:43 | WSZ 101 - Accrington West | - | - | - | - | - | - | 0.006 | 6 | - | 0.004 | 0.002 | 0.006 | 0.64 | - | - | - | - | 0.84 | 0.7 | 0 | 0 | - | - | - | - | 1.4 | - | 0 | - | - | - | 0.004 | - | - | - | - | - | - | - | - | - | 1 | 0 | - | - | - | - | 1 | 1.4 | 1.1 | 0.67 | 28.9 | 21.5 | 0.83 | 0 | -
2025-04-02 | 12:27 | WSZ 101 - Accrington West | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.9 | 0.84 | - | 0 | - | - | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
2025-04-09 | 9:40 | WSZ 101 - Accrington West | - | 6.22 | - | - | - | - | - | - | - | - | - | - | - | - | - | 7.8 | - | 0.66 | 0.61 | - | 0 | 2.08 | 70.8 | - | - | - | - | 0 | - | 23.5 | - | - | 7 | - | 0.97 | 0.45 | - | - | - | - | - | - | - | - | 1130 | - | 5.79 | - | - | - | - | - | - | - | - | 0.2
2025-04-16 | 10:45 | WSZ 101 - Accrington West | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.69 | 0.62 | 0 | 0 | - | - | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 7.21 | - | - | - | - | - | - | - | - | - | - | - | -
2025-04-22 | 10:42 | WSZ 101 - Accrington West | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.8 | 0.57 | - | 0 | 2.08 | 70.9 | 10.4 | - | - | - | 0 | - | - | - | - | - | 0.55 | - | - | 0.77 | - | - | - | - | 1 | - | - | - | - | - | 1 | - | - | - | - | - | - | - | 0.1
2025-04-25 | 10:49 | WSZ 101 - Accrington West | - | - | 0.042 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.66 | 0.63 | - | 0 | - | - | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | 0.003 | 0.55 | 0.034 | 0.55 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
2025-05-02 | 15:07 | WSZ 101 - Accrington West | - | - | - | 0.31 | 0.48 | - | - | - | - | - | - | - | - | - | 0.09 | - | 0.83 | 0.6 | 0.56 | - | 0 | - | - | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.85 | - | - | - | - | - | - | - | - | - | -
2025-05-06 | 11:20 | WSZ 101 - Accrington West | - | 15.7 | - | - | - | - | - | - | - | - | - | - | - | - | - | 8.69 | - | 0.71 | 0.55 | 0 | 0 | - | - | - | - | - | - | 0 | - | 26.1 | - | - | 7 | - | 1.07 | 1.08 | - | - | - | - | - | - | - | 7.24 | 1140 | - | - | - | - | - | - | - | - | - | - | -
2025-05-07 | 16:43 | WSZ 101 - Accrington West | 16.1 | 9.7 | - | - | - | - | - | - | - | - | - | - | - | - | - | 8.09 | - | 0.39 | 0.28 | - | 0 | 2.08 | 71.9 | - | - | - | - | 0 | - | 24.5 | - | - | 35 | - | 1.04 | 8.2 | - | - | - | - | - | 1 | - | 7.34 | 1130 | - | - | 1 | - | - | - | - | - | - | - | 0.1
2025-05-12 | 9:52 | WSZ 101 - Accrington West | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.79 | 0.75 | 0 | 0 | - | - | - | 0 | - | - | 0 | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
2025-05-13 | 12:06 | WSZ 101 - Accrington West | - | 13.4 | - | - | - | - | - | - | - | - | - | - | - | - | - | 8.3 | - | 0.85 | 0.78 | - | 0 | 2.08 | 71.6 | - | - | - | - | 0 | - | 25 | - | - | 7 | - | 1.04 | 1.19 | - | - | - | - | - | 1 | - | - | 1180 | - | - | 1 | - | - | - | - | - | - | - | 0.1
2025-05-15 | 15:25 | WSZ 101 - Accrington West | - | 12.4 | - | - | - | - | - | - | - | - | - | - | - | - | - | 8.34 | - | 0.66 | 0.58 | 0 | 0 | 2.08 | 72.7 | - | - | - | - | 0 | - | 25.1 | - | - | 7 | - | 1.03 | 1.13 | - | - | - | - | - | 1 | - | - | 1180 | - | - | 1 | - | - | - | - | - | - | - | 0.1
2025-05-19 | 9:48 | WSZ 101 - Accrington West | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.59 | 0.5 | - | 0 | - | - | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 7.34 | - | - | - | - | - | - | - | - | - | - | - | -
2025-05-27 | 12:00 | WSZ 101 - Accrington West | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.76 | 0.66 | - | 0 | - | - | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
2025-05-30 | 10:48 | WSZ 101 - Accrington West | - | 8.2 | - | - | - | - | - | - | - | - | - | - | - | - | - | 7.94 | - | 0.63 | 0.56 | 0 | 0 | 1.75 | 71.2 | - | 0 | - | - | 0 | 0 | 24.1 | - | - | 7 | - | 1.04 | 1.04 | - | - | - | - | - | 1 | - | 7.68 | 1160 | - | - | 1 | - | - | - | - | - | - | - | -
2025-06-04 | 12:20 | WSZ 101 - Accrington West | - | - | - | - | - | - | 0.006 | 5.8 | - | 0.004 | 0.002 | 0.006 | - | - | - | - | - | - | - | - | 0 | 2.04 | 74.8 | - | - | 1.5 | - | 0 | - | - | - | 0.004 | - | - | - | - | - | - | - | - | - | - | 0 | - | - | - | - | - | 1.6 | 0.73 | 0.38 | 23.7 | 17.9 | 0.59 | 0 | 0.2
2025-06-06 | 10:43 | WSZ 101 - Accrington West | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  | - | - | - | - | - | - |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
2025-06-10 | 12:43 | WSZ 101 - Accrington West | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.78 | 0.72 | 0 | 0 | - | - | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | 1 | - | 7.48 | - | - | - | 1 | - | - | - | - | - | - | - | -
2025-06-12 | 13:36 | WSZ 101 - Accrington West | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.78 | 0.74 | 0 | 0 | - | - | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | 1 | - | - | - | - | - | 1 | - | - | - | - | - | - | - | 0.2
2025-06-13 | 11:23 | WSZ 101 - Accrington West | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.8 | 0.68 | - | 0 | - | - | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | 1 | - | 7.41 | - | - | - | 1 | - | - | - | - | - | - | - | 0.19
2025-06-18 | 11:08 | WSZ 101 - Accrington West | - | 12.2 | 0.025 | - | - | - | - | - | - | - | - | - | 0.7 | - | - | 8.77 | - | 0.79 | 0.71 | 0 | 0 | 1.75 | 73.3 | - | - | - | - | 0 | - | 26.4 | - | - | 8 | - | 1.09 | 1.66 | - | 0.003 | 0.55 | 0.027 | 0.55 | - | - | - | 1210 | - | 5.92 | - | - | - | - | - | - | - | - | 0.19
2025-06-20 | 11:33 | WSZ 101 - Accrington West | - | - | - | 0.31 | 0.48 | - | - | - | - | - | - | - | - | - | 0.09 | - | 0.83 | 0.99 | 0.91 | - | 0 | - | - | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.85 | - | - | - | - | - | - | - | - | - | -
2025-07-07 | 10:31 | WSZ 101 - Accrington West | - | 6.22 | - | 0.31 | 0.48 | - | - | - | - | - | - | - | - | - | 0.09 | 8.63 | 0.83 | 0.7 | 0.56 | - | 0 | 1.75 | 75.1 | - | - | - | - | 0 | - | 25.7 | - | - | 19 | - | 1.01 | 1.66 | - | - | - | - | - | - | - | 7.39 | 1190 | 0.85 | 5.59 | - | - | - | - | - | - | - | - | 0.19
2025-07-08 | 13:30 | WSZ 101 - Accrington West | 17.3 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.43 | 0.41 | 0 | 0 | - | - | 10.4 | - | - | - | 0 | - | - | - | - | - | 0.55 | - | - | 0.77 | - | - | - | - | 1 | - | - | - | - | - | 1 | - | - | - | - | - | - | - | -
2025-07-10 | 15:08 | WSZ 101 - Accrington West | - | - | 0.025 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.51 | 0.45 | - | 0 | - | - | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | 0.0023 | 0.46 | 0.034 | 0.46 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
2025-07-14 | 10:25 | WSZ 101 - Accrington West | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.49 | 0.41 | - | 0 | - | - | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | 1 | - | 7.35 | - | - | - | 1 | - | - | - | - | - | - | - | -
2025-07-15 | 11:01 | WSZ 101 - Accrington West | - | - | 0.025 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.79 | 0.7 | 0 | 0 | 2.08 | 72.3 | - | 0 | - | - | 0 | 0 | - | - | - | - | - | - | - | - | 0.0023 | 0.46 | 0.036 | 0.46 | 1 | - | - | - | - | - | 1 | - | - | - | - | - | - | - | 0.1
2025-07-16 | 15:34 | WSZ 101 - Accrington West | - | 2.71 | - | - | - | - | - | - | - | - | - | - | - | - | - | 8.77 | - | 0.24 | 0.16 | - | 0 | - | - | 10.4 | - | - | - | 0 | - | 26.4 | - | - | 10.1 | 0.55 | 1.08 | 1.34 | 0.77 | - | - | - | - | 1 | - | - | 1170 | - | - | 1 | - | - | - | - | - | - | - | -
2025-07-18 | 13:05 | WSZ 101 - Accrington West | - | 6.67 | - | - | - | - | 0.006 | 7.8 | - | 0.004 | 0.002 | 0.006 | - | - | - | 8.47 | - | 0.69 | 0.64 | 0 | 0 | 1.75 | 73.3 | - | 0 | 1.5 | - | 0 | 0 | 25.4 | - | 0.004 | 7 | - | 1.04 | 1.1 | - | - | - | - | - | - | 0 | - | 1180 | - | - | - | 1.6 | 0.73 | 0.38 | 38.5 | 30.7 | 0.59 | 0 | 0.19
2025-07-22 | 10:56 | WSZ 101 - Accrington West | - | 8.25 | - | - | - | - | - | - | - | - | - | - | - | - | - | 8.44 | - | 0.58 | 0.45 | 0 | 0 | - | - | - | - | - | - | 0 | - | 25.2 | - | - | 8 | - | 1.01 | 1.71 | - | - | - | - | - | - | - | - | 1160 | - | - | - | - | - | - | - | - | - | - | 0.19
2025-07-23 | 10:10 | WSZ 101 - Accrington West | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.31 | 0.22 | 0 | 0 | - | - | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | 1 | - | - | - | - | - | 1 | - | - | - | - | - | - | - | -
2025-07-24 | 11:33 | WSZ 101 - Accrington West | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.6 | 0.52 | - | 0 | 2.04 | 71.8 | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.2
2025-07-24 | 11:34 | WSZ 101 - Accrington West | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.6 | 0.52 | - | 0 | 2.04 | 71.8 | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.2
2025-07-26 | 11:03 | WSZ 101 - Accrington West | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  | - | - | - | - | - | - |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
2025-07-30 | 9:03 | WSZ 101 - Accrington West | - | 10.1 | - | - | - | - | - | - | - | - | - | - | - | - | - | 8.58 | - | 0.64 | 0.51 | 1 | 0 | - | - | - | - | - | - | 0 | - | 25.8 | - | - | 7 | - | 1.06 | 1.98 | - | - | - | - | - | 1 | - | - | 1190 | - | - | 1 | - | - | - | - | - | - | - | -
2025-07-31 | 15:13 | WSZ 101 - Accrington West | 17.4 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.34 | 0.28 | - | 0 | - | - | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
2025-08-07 | 14:21 | WSZ 101 - Accrington West | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.58 | 0.5 | - | 0 | - | - | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 7.31 | - | - | - | - | - | - | - | - | - | - | -
2025-08-23 | 11:02 | WSZ 101 - Accrington West | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.47 | 0.41 | - | 0 | 1.75 | 75.9 | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 7.55 | - | - | - | - | - | - | - | - | - | - | - | 0.19
2025-08-26 | 12:33 | WSZ 101 - Accrington West | - | 11.9 | - | - | - | - | - | - | - | - | - | - | - | - | - | 8.86 | - | 0.67 | 0.6 | - | 0 | 1.75 | 74.7 | - | - | - | - | 0 | - | 26.7 | - |  | 3.4 | - | 1.11 | 3.98 | - | - | #VALUE! | - | - | 1 | - | 7.12 | 1210 | - | - | 1 | - | - | - | - | - | - | - | 0.19