## Work Package Detail
REDLINE
|  | NAME | XXXX |  |  |  | DISTRICT | Area 4
|  | DATE |  | 2022-06-14 | On Site: | 11:00 | Off Site: | 14:45
Address |  | The Ridgeway |  |  |  | Affected properties
Postcode |  | SK12
Date of Original Incident
Size of Pipe (select)
Approx Survey Length (select)
Impact (select)
Customer Name( if known) |  | No Customer Contact
Customer Contact Number
Structural Survey (select) |  | Not Required
TM Requirements |  | Yes
Access Restrictions |  | No issues
Pre-site reqiuired |  | No
| Overpumping/ Draw off? | No |  |  |  | Original WO
Original Wirs ID
| Email | XXXX
Instruction
Please CCTV and HPWJ as required from SW and Foul sewers downstream from (SW MH 3014 , MH 4002, & MH4901) and (Foul/Combined MH3016, MH 4001, MH4902 & MH4903) Please see sketch. No customer contact as on the public highway. Sewer is also on for an annual Fast Pass and Clean September of each year.
Comments/Further Info
We arrived on site and set up chapter 8 . We then located 4901 and 4903 at fop 32 . Next , we set up a barrier and lifted the cover of 4903 . Chamber and line clear . Cctv taken from 4903 u/s approx 36m 225mm , all clear . We then moved to 4901 , set up a barrier and lifted the cover . Chamber and line clear . Cctv taken from 4901 u/s approx 36m 225mm , all clear . Next , we moved to 4902 and set up again . We then set up a barrier and lifted the cover . Concrete found in the chamber and line at 4902 . We then removed the concrete from the chamber and line using hand tools , see photo's . Cctv taken from 4902 d/s approx 36m 225mm , all clear . Next , we moved to 4002 and set up once again . We then set up a barrier and lifted the cover . Chamber and line clear . Cctv taken from 4002 d/s approx 35m 225mm . At approx 25m the camera went under water . At approx 35m the camera would go no further due to roots in the line , see cctv . We then moved to 4001 , set up a barrier and lifted the cover . Chamber and line clear . Cctv taken from 4001 d/s approx 38m 225mm , all clear . Next , we moved to 3016 and set up once more . We then set up a barrier and lifted the cover . Chamber and line clear . Cctv taken from 3016 d/s to 4001 approx 15m 225mm , all clear . Finally , we moved to 3014 . We then set up a barrier and lifted the cover . Chamber and line clear . Cctv taken from 3014 d/s approx 20m , silt found . To remove the roots and clean the line , we then went to fill up with water . We then returned to the site and set up at 4002 . 225mm cleaned by hpwj from 4002 u/s approx 40m to remov silt . After hpwj , we then removed the silt from the line using suction and gulley grabs , see photo's . We then cleaned the 225mm line d/s approx 35m to remove the roots . We then took cctv of the line once more , from 4002 d/s to end of reel approx 38m 225mm . We were able to restore flow and remove most of the roots , see cctv . Some root remained as this appears to be coming from a connection on the right at approx 35m , see cctv . To finish , we then took cctv of the line once more from 3014 d/s to 4002 approx 39m 225mm . The line was now clean and clear . U/s of 3014 appears to be hol , see snap shot . Job complete .
4001

## Sketch
Insert Plan (new findings - use paint)
4001
cctv taken from 4903 u/s approx 36m 225mm , all clear . also , cctv taken from 4901 u/s approx 36m 225mm , all clear
cctv taken from 4902 d/s approx 36m 225mm all clear . concrete found in line at chamber of 4902
cctv taken from 4001 d/s approx 38m 225mm , all clear . also , cctv taken from 4002 d/s approx 35m 225mm , roots found , see cctv line cleaned by hpwj then re cctv
roots
cctv taken from 3016 d/s to 4001 15m 225mm , all clear , also cctv taken from 3014 d/s approx 20m 225mm , silt found , see cctv . line cleaned by hpwj then re cctv

## Photos
Photo 1: | 4901 + 4903 at fop 32 |  | Photo 2: | chamber and line at 4903
Photo 3: | chamber and line at 4901 |  | Photo 4: | 4902 at fop 40
Photo 5: | chamber and line at 4902 |  | Photo 6: | displacement found in line at 4902
Photo 7: | concrete removed from line at 4902 |  | Photo 8: | 4001 at fop 42a
Photo 9 |  | chamber and line at 4002 | Photo 10 |  | 4002 at fop 42a
Photo 11 |  | chamber and line at 4001 | Photo 12 |  | 3016 at fop 44
Photo 13 |  | chamber and line at 3016 | Photo 14 |  | 3014 at fop 27
Photo 15 |  | chamber and line at 3014 | Photo 16 | silt removed from 225mm line at 4002

## Further works
[17 empty] | <Select> | <Select> |  | <Select>
| Further Work 1 |  | Cellered Property? |  | Y / N | [7 empty] | Impact 1 |  |  |  | Pollution - Internal (no draw of) - Road Closure - Press - CCW complaint - Major Impact to key cust | 100% Collapse/Deformation - No flow requires <3 draw off or Over pumping / 100% Foul/Combined | 1 | Make Safe | Notes_2 | Notes_2 | Notes_1 | For Civils works - SLA, Sewer Type, Defect, Depth, Pipe size, Extent of Works, Surface type, Loction & probe details, Access details, Customer details (if req), Traffic Management details, s159 details, Grid ref of dig location.
[10 empty] | MATRIX 1 | 1 | 2 | 3 | 4 | 5 | 6 | Internal - External 3+ (no draw offs) - H&S risk - Press - Written Complaint - Minor impact to key cust | Partial Collapse - Displaced joint <100% against - Deformation 61-100% / <70% Foul/Combined <100% Surface | 2 | Replace - Gully | Notes_4 | Notes_4 | Notes_2 | For Civils works - SLA, Sewer Type, Defect, Depth, Extent of Works, Surface type, Loction & probe details, Access details, Customer details (if req), Traffic Management details, s159 details, Grid ref of dig location.
|  |  | Is this defect the point of blockage? |  |  | Y / N |  |  | 100% | 1 | NWD/ Appropriate SLA agreed Agent/NE/NPT/ Standby | 3/7 Day | 14 Day | 14 Day | 14 Day | 1-n-1 | External Flood - Minor dip in road (No H&S risk) - Repeat/Escalated cust contact (SIM points) | Displaced joint against <30% with <100% - Deformation 41-60% / <50% Foul/Combined <70% Surface | 3 | Replace - Dropshaft | Notes_1 | Notes_1 | Notes_3 | For Civils works - SLA, Sewer Type, Defect, Depth, Trap type, Extent of Works, Surface type, Loction & probe details, Access details, Customer details (if req), Traffic Management details, s159 details, Grid ref of dig location.
Type of Further Work Required | 1 | 39 | [6 empty] | 71-90% | 2 | 3/7 Day | 7/14 Day | 14 Day | 14 Day | 14 Day | 1-n-2 | Blockage - Pest problem | Displaced joint against <15% with <30% - Deformation 21-40% / <30% Foul/Combined <50% Surface | 4 | Trial Hole | Notes_2 | Notes_2 | Notes_4 | For Civils works - SLA, Sewer Type, Defect, Depth, Reason for Gully removal, Surface type, Loction & probe details, Access details, Customer details (if req), Traffic Management details, s159 details, Grid ref of dig location.
[7 empty] | Matrix 1 Jetting | % of issue | 51-70% | 3 | 3/7 Day | 14 Day | 14 Day | Send to IA Mailbox for Review by NPT | Send to IA Mailbox for Review by NPT | 1-n-3 | Odour - No H&S impact - No Regulatory Impact - No Brand Impact | Displaced joint against flow <5% - deformation 6-20% / <10% Foul/Combined <30% Surface | 5 | Abandon - Sewer | Notes_2 | Notes_2 | Notes_5 | For CCTV/Lining works - SLA, Sewer type, Defect, Depth, Pipe size, Extent of Works, Location details, Customer details (if req), Traffic Management details.
Impact if reoccurs | 1 |  |  | 1 |  |  |  |  | 31-50% | 4 | 7/14 Day | 14 Day | Send to IA Mailbox for Review by NPT | Send to IA Mailbox for Review by NPT | Send to IA Mailbox for Review by NPT | 1-n-4 |  | Displaced joint <5% with flow - Pipe deformation <5% - Trap / 1-10% restriction on Surface | 6 | Abandon - Manhole | Notes_2 | Notes_2 | Notes_6 | For Jetting works - SLA, Sewer Type, Defect, Depth, Pipe size, Extent of Works, Access details, Customer details (if req), Traffic Management details.
[9 empty] | 11-30% | 5 | 7/14 Day | 14 Day | Send to IA Mailbox for Review by NPT | Send to IA Mailbox for Review by NPT | Send to IA Mailbox for Review by NPT | 1-n-5 |  |  | 7 | Clear Blockage | Notes_6 | Notes_6 | Notes_7 | For Lining/Cleaning works - SLA, Sewer Type, Defect, Depth, Pipe size, Extent of Works, Loction & probe details, Access details, Customer details (if req), Traffic Management details, s159 details.
% of defect/blockage | 2 | Notes_2 |  | #N/A |  |  |  |  | 0<10% | 6 | 14 Day | Send to IA Mailbox for Review by NPT | Send to IA Mailbox for Review by NPT | Send to IA Mailbox for Review by NPT | Send to IA Mailbox for Review by NPT | 1-n-6 |  |  | 8 | Back Fill | Notes_2 | Notes_2
(Civils) / (Jetting) | [18 empty] | 9 | Break Out & Replace | Notes_4 | Notes_4
Photographs: A Photograph of any probe mark and surroundings must be included as well as a picture of the defect on the Photos tab. | [18 empty] | 10 | Break Out Trap Sewer (in line) | Notes_3 | Notes_3
[13 empty] | Impact 2 | [5 empty] | 11 | Break Out Trap Manhole (P Trap) | Notes_3 | Notes_3
[10 empty] | MATRIX 2 | 1 | 2 | 3 | 4 | 5 | 6 |  |  | 12 | Build Up/Renew - Manhole | Notes_4 | Notes_4
Can this defect be lined? |  | Please give reason if NOT? | [6 empty] | 100% | 1 | Raise on appropriate SLA agreed Agent/NE/NPT/ Standby | Raise on appropriate SLA agreed Agent/NE/NPT/ Standby | Raise on appropriate SLA agreed Agent/NE/NPT/ Standby | Send to IA Mailbox, do not raise on SAP | Send to IA Mailbox, do not raise on SAP | 2-n-1 |  |  | 13 | Build Up/Renew - Cover Slab | Notes_2 | Notes_2
[9 empty] | 71-90% | 2 | Raise on appropriate SLA agreed Agent/NE/NPT/ Standby | Raise on appropriate SLA agreed Agent/NE/NPT/ Standby | Raise on appropriate SLA agreed Agent/NE/NPT/ Standby | Raise on appropriate SLA agreed Agent/NE/NPT/ Standby | Raise on appropriate SLA agreed Agent/NE/NPT/ Standby | 2-n-2 |  |  | 14 | Build Up/Renew - Reducing Slab | Notes_2 | Notes_2
The below details MUST be included in any notes. |  | Further Work Comments (Paste into SAP when raising further work) | [6 empty] | 51-70% | 3 | Send to IA Mailbox, do not raise on SAP | Send to IA Mailbox, do not raise on SAP | Send to IA Mailbox, do not raise on SAP | Send to IA Mailbox, do not raise on SAP | Send to IA Mailbox, do not raise on SAP | 2-n-3 |  |  | 15 | CCTV | Notes_5 | Notes_5
[7 empty] | Matrix 2 Civils | % of issue | 31-50% | 4 | Raise on appropriate SLA agreed Agent/NE/NPT/ Standby | Raise on appropriate SLA agreed Agent/NE/NPT/ Standby | Raise on appropriate SLA agreed Agent/NE/NPT/ Standby | Raise on appropriate SLA agreed Agent/NE/NPT/ Standby | Send to IA Mailbox, do not raise on SAP | 2-n-4 |  |  | 16 | Clean Up | Notes_6 | Notes_6
For Civils works - SLA, Sewer Type, Defect, Depth, Extent of Works, Surface type, Loction & probe details, Access details, Customer details (if req), Traffic Management details, s159 details, Grid ref of dig location. | [8 empty] | 11-30% | 5 | Raise on appropriate SLA agreed Agent/NE/NPT/ Standby | Raise on appropriate SLA agreed Agent/NE/NPT/ Standby | Raise on appropriate SLA agreed Agent/NE/NPT/ Standby | Raise on appropriate SLA agreed Agent/NE/NPT/ Standby | Send to IA Mailbox, do not raise on SAP | 2-n-5 |  |  | 17 | Clear Debris from Manhole | Notes_6 | Notes_6
[9 empty] | 0<10% | 6 | Raise on appropriate SLA agreed Agent/NE/NPT/ Standby | Raise on appropriate SLA agreed Agent/NE/NPT/ Standby | Raise on appropriate SLA agreed Agent/NE/NPT/ Standby | Raise on appropriate SLA agreed Agent/NE/NPT/ Standby | Send to IA Mailbox, do not raise on SAP | 2-n-6 |  |  | 18 | Construct - Manhole | Notes_2 | Notes_2
[19 empty] | 19 | Construct New Manhole | Notes_2 | Notes_2
[19 empty] | 20 | Draw Off/Pump Out | Notes_6 | Notes_6
[13 empty] | Impact 3 | [5 empty] | 21 | Excavate | Notes_2 | Notes_2
[10 empty] | MATRIX 3 | 1 | 2 | 3 | 4 | 5 | 6 |  |  | 22 | Fencing | Notes_2 | Notes_2
[9 empty] | 100% | 1 | Appropriate SLA agreed Agent/NE/NPT/ Standby | Appropriate SLA agreed Agent/NE/NPT/ Standby | 3/7 Day | Send to IA Mailbox, do not raise on SAP | Send to IA Mailbox, do not raise on SAP | 3-n-1 |  |  | 23 | Free or Refit Cover | Notes_2 | Notes_2
[9 empty] | 71-90% | 2 | Appropriate SLA agreed Agent/NE/NPT/ Standby | 3/7 Day | Send to IA Mailbox, do not raise on SAP | Send to IA Mailbox, do not raise on SAP | Send to IA Mailbox, do not raise on SAP | 3-n-2 |  |  | 24 | Insitu Concrete Base | Notes_2 | Notes_2
[9 empty] | 51-70% | 3 | Raise on appropriate SLA agree with Agent/NE/NPT | 3/7 Day | Send to IA Mailbox, do not raise on SAP | Send to IA Mailbox, do not raise on SAP | Send to IA Mailbox, do not raise on SAP | 3-n-3 |  |  | 25 | Insitu Concrete Blinding | Notes_2 | Notes_2
[7 empty] | Matrix 3 Civ c&f | % of issue | 31-50% | 4 | 3/7 Day | Send to IA Mailbox, do not raise on SAP | Send to IA Mailbox, do not raise on SAP | Send to IA Mailbox, do not raise on SAP | Send to IA Mailbox, do not raise on SAP | 3-n-4 |  |  | 26 | Install Step Irons/Ladder | Notes_2 | Notes_2
Please ensure all relevant email address' are CC'd in your offsite email.See guidance tab for IA mailboxes & Civils / Jetting mailboxes. | [5 empty] | Check when entered on SAP |  |  | 11-30% | 5 | Send to IA Mailbox, do not raise on SAP | Send to IA Mailbox, do not raise on SAP | Send to IA Mailbox, do not raise on SAP | Send to IA Mailbox, do not raise on SAP | Send to IA Mailbox, do not raise on SAP | 3-n-5 |  |  | 27 | Investigate/Report on Private Drain | Notes_6 | Notes_6
[9 empty] | 0<10% | 6 | Send to IA Mailbox, do not raise on SAP | Send to IA Mailbox, do not raise on SAP | Send to IA Mailbox, do not raise on SAP | Send to IA Mailbox, do not raise on SAP | Send to IA Mailbox, do not raise on SAP | 3-n-6 |  |  | 28 | Investigation/Survey Work | Notes_6 | Notes_6
[19 empty] | 29 | New or Reset Frame/Cover | Notes_2 | Notes_2
[19 empty] | 30 | Non-Standard Item | Notes_2 | Notes_2
| Further Work 2 |  | Cellered Property? |  | Y / N | [7 empty] | Impact 1 | [5 empty] | 31 | Over Pumping | Notes_2 | Notes_2
[10 empty] | MATRIX 4 | 1 | 2 | 3 | 4 | 5 | 6 |  |  | 32 | Pointing Brickwork | Notes_2 | Notes_2
|  |  | Is this defect the point of blockage? |  |  | Y / N |  |  | 100% | 1 | NWD/ Appropriate SLA agreed Agent/NE/NPT/ Standby | 3/7 Day | 14 Day | 14 Day | 14 Day | 4-n-1 |  |  | 33 | Precision Cutting | Notes_7 | Notes_7
Type of Further Work Required | 1 | [5 empty] | Matrix 4 gully MH | % of issue | 71-90% | 2 | NWD/ Appropriate SLA agreed Agent/NE/NPT/ Standby | 3/7 Day | 14 Day | 14 Day | Send to IA Mailbox for Review by NPT | 4-n-2 |  |  | 34 | Reinstatement | Notes_2 | Notes_2
[7 empty] | civils |  | 51-70% | 3 | NWD/ Appropriate SLA agreed Agent/NE/NPT/ Standby | 7/14 Day | 14 Day | 14 Day | Send to IA Mailbox for Review by NPT | 4-n-3 |  |  | 35 | Repair Benching | Notes_2 | Notes_2
Impact if reoccurs | 1 |  |  | 1 |  |  |  |  | 31-50% | 4 | 3/7 Day | 7/14 Day | 14 Day | 14 Day | Send to IA Mailbox for Review by NPT | 4-n-4 |  |  | 36 | Repair Sewer | Notes_1 | Notes_1
[9 empty] | 11-30% | 5 | 3/7 Day | 7/14 Day | 14 Day | 14 Day | Send to IA Mailbox for Review by NPT | 4-n-5 |  |  | 37 | Replace Droshaft | Notes_1 | Notes_1
% of defect/blockage | 1 | Notes_2 |  | #N/A |  |  |  |  | 0<10% | 6 | 14 Day | 14 Day | Send to IA Mailbox for Review by NPT | Send to IA Mailbox for Review by NPT | Send to IA Mailbox for Review by NPT | 4-n-6 |  |  | 38 | Sewer Cleaning | Notes_7 | Notes_7
(Civils) / (Jetting) | [18 empty] | 39 | Sewer Lining | Notes_5 | Notes_5
Photographs: A Photograph of any probe mark and surroundings must be included as well as a picture of the defect on the Photos tab. | [18 empty] | 40 | Specialist - Cutting | Notes_7 | Notes_7
[13 empty] | Impact 1 | [5 empty] | 41 | Anti-Flood Valve | Notes_2 | Notes_2
[10 empty] | MATRIX 5 | 1 | 2 | 3 | 4 | 5 | 6
Can this defect be lined? |  | Please give reason if NOT? | [6 empty] | 100% | 1 | NWD/ Appropriate SLA agreed Agent/NE/NPT/ Standby | 3 Day | 7 Day | 14 Day | Send to IA Mailbox for Review by NPT | 5-n-1
[9 empty] | 71-90% | 2 | NWD/ Appropriate SLA agreed Agent/NE/NPT/ Standby | 7 Day | 14 Day | 14 Day | Send to IA Mailbox for Review by NPT | 5-n-2
The below details MUST be included in any notes. |  | Further Work Comments (Paste into SAP when raising further work) |  |  |  |  | Matrix 5 cctv lining | % of issue | 51-70% | 3 | NWD/ Appropriate SLA agreed Agent/NE/NPT/ Standby | 7 Day | 14 Day | 14 Day | Send to IA Mailbox for Review by NPT | 5-n-3
[7 empty] | jetting |  | 31-50% | 4 | 3 Day | 14 Day | 14 Day | Send to IA Mailbox for Review by NPT | Send to IA Mailbox for Review by NPT | 5-n-4
For Civils works - SLA, Sewer Type, Defect, Depth, Extent of Works, Surface type, Loction & probe details, Access details, Customer details (if req), Traffic Management details, s159 details, Grid ref of dig location. | [8 empty] | 11-30% | 5 | 3/7 Day | 14 Day | Send to IA Mailbox for Review by NPT | Send to IA Mailbox for Review by NPT | Send to IA Mailbox for Review by NPT | 5-n-5
[9 empty] | 0<10% | 6 | Send to IA Mailbox for Review by NPT | Send to IA Mailbox for Review by NPT | Send to IA Mailbox for Review by NPT | Send to IA Mailbox for Review by NPT | Send to IA Mailbox for Review by NPT | 5-n-6
Impact 1
[10 empty] | MATRIX 6 | 1 | 2 | 3 | 4 | 5 | 6
[9 empty] | 100% | 1 | NWD/ Appropriate SLA agreed Agent/NE/NPT/ Standby | NWD/ Appropriate SLA agreed Agent/NE/NPT/ Standby | NWD/ Appropriate SLA agreed Agent/NE/NPT/ Standby | NWD/ Appropriate SLA agreed Agent/NE/NPT/ Standby | NWD/ Appropriate SLA agreed Agent/NE/NPT/ Standby | 6-n-1
[9 empty] | 71-90% | 2 | NWD/ Appropriate SLA agreed Agent/NE/NPT/ Standby | NWD/ Appropriate SLA agreed Agent/NE/NPT/ Standby | NWD/ Appropriate SLA agreed Agent/NE/NPT/ Standby | NWD/ Appropriate SLA agreed Agent/NE/NPT/ Standby | NWD/ Appropriate SLA agreed Agent/NE/NPT/ Standby | 6-n-2
[7 empty] | Matrix 6 investigation | % of issue | 51-70% | 3 | NWD/ Appropriate SLA agreed Agent/NE/NPT/ Standby | NWD/ Appropriate SLA agreed Agent/NE/NPT/ Standby | NWD/ Appropriate SLA agreed Agent/NE/NPT/ Standby | NWD/ Appropriate SLA agreed Agent/NE/NPT/ Standby | NWD/ Appropriate SLA agreed Agent/NE/NPT/ Standby | 6-n-3
Please ensure all relevant email address' are CC'd in your offsite email.See guidance tab for IA mailboxes & Civils / Jetting mailboxes. | [5 empty] | Check when entered on SAP | jetting |  | 31-50% | 4 | NWD/ Appropriate SLA agreed Agent/NE/NPT/ Standby | NWD/ Appropriate SLA agreed Agent/NE/NPT/ Standby | NWD/ Appropriate SLA agreed Agent/NE/NPT/ Standby | NWD/ Appropriate SLA agreed Agent/NE/NPT/ Standby | NWD/ Appropriate SLA agreed Agent/NE/NPT/ Standby | 6-n-4
[9 empty] | 11-30% | 5 | NWD/ Appropriate SLA agreed Agent/NE/NPT/ Standby | NWD/ Appropriate SLA agreed Agent/NE/NPT/ Standby | NWD/ Appropriate SLA agreed Agent/NE/NPT/ Standby | NWD/ Appropriate SLA agreed Agent/NE/NPT/ Standby | NWD/ Appropriate SLA agreed Agent/NE/NPT/ Standby | 6-n-5

## For Lookups (hidden)
Category | Stop Description | Stop Code | Cost (£) | Unit of Measurement | Schedule | Previous Rate | Increase percentage | Depth |  | Size of Pipe |  | Pipe Lengths |  | Impact |  | Proximity to Buildings |  | Proximity to Railway Line |  | Structural Survey | TM Requirements |  | Access Restrictions |  | Pre-site reqiuired | Overpumping/Draw Off? |  | Repeat Incident |  | Timeframe of further repeat |  | Health and Safety Risk |  | Customer Impact (SIM) |  | SLA | Area Name | Stop Group | Likelihood of Repeat | Highway type |  | Services
Chambers and Covers | Build up or Renew MH Chamb/Above Ground | W2A950511 | 977.004 | nr | General Site Works: Building up or partial renewal of manholes / other chambers | 1028.5867 | 105.3%
| Build up or Renew MH Chamb/0-1.5m Dp | W2A950512 | 1145.712 | nr |  | 1206.2019 | 105.3% | [26 empty] | n/a | 1
| Build up or Renew MH Chamb/1.5-3m Dp | W2A950513 | 2426.184 | nr |  | 2554.2788 | 105.3% | <1.5m | 1 | 150 | 1 | <6m | 1 |  |  | <2m | 5 | <10m | 5 | Required | Yes | 2 | No issues | 1 | Yes | N/A | 1 | Yes | 5 | <2wks | 5 | Fatality | 10 | CCW | 5 | 29-90 days | Allerdale | Chambers and Covers | 100% | Private Land | 2 | No services | 1
| Build up or Renew MH Chamb/3-6m Dp | W2A950514 | 6453.72 | nr |  | 6794.4558 | 105.3% | 1.5m-3m | 2 | 225 | 1 | 6m-10m | 1 | Pollution | 5 | 2-4m | 3 | >10m | 2 | Complete | No | 1 | No vehicular access | 2 | No | Overpumping | 3 | No | 2 | 2wks-6wks | 4 | Public Injury Major | 5 | Escalated Contact | 2 | >90 day | Barrow | Dropshafts | 80% | POS | 1 | < 6" Water supply | 1
| Build up or Renew MH Inst Cover Slab | W2A950515 | 3139.992 | nr |  | 3305.7735 | 105.3% | 3m-4.5m | 3 | 300 | 1 | 10m-20m | 2 | Internal | 4 | >4m | 1 |  |  | Not Required | Traffic Sensitive | 3 | No Machine Access | 2 |  | Draw Off | 3 |  |  | 6wks-3mths | 3 | Public Injury Minor | 4 | First Call | 1 |  | Blackburn | Make Safe | 60% | Alleyway | 1 | > 6" Water Supply | 2
| Build up or Renew MH Inst Reducing Slab | W2A950516 | 4564.656 | nr |  | 4805.6552 | 105.3% | >4.5 | 5 | 375 | 1 | 20m-30m | 3 | External | 3 | [7 empty] | Physical Obstructions | 3 | [5 empty] | 3mths-12mths | 2 | Employee Injury Minor | 4 | Prosecution | 5 |  | Blackpool | Fencing | 40% | Private Field | 2 | Low/Medium Voltage Electricity | 2
| Build up or Renew MH EO Workg in Side Rd | W2A950517 | 118.908 | nr |  | 125.186 | 105.3% |  |  | 450 | 2 | 30m-40m | 3 | Subsidence | 2 | [7 empty] | Access only at certain times | 3 | [5 empty] | >12mths | 1 | Long Term Health Damage | 4 | Questions under Caution | 4 |  | Bolton | GroundWorks Backfill | 20% | Side Street | 2 | High Voltage Electricity | 4
| Build up or Renew MH EO Workg in Main Rd | W2A950518 | 138.024 | nr |  | 145.3112 | 105.3% |  |  | 525 | 3 | >40m | 5 | Highway Flooding | 2 | [7 empty] | Via Third Party Land | 4 | [7 empty] | Employee Injury Major | 5 | Repeat Contact | 3 |  | Burnley | Abandonment | 0% | Main Road | 3 | Fibre Optics | 3
| Wks in Chambs/Benching/0-1.5m Dp | W2A950711 | 132.528 | nr | General Site Works: Minor works within chambers | 139.5251 | 105.3% |  |  | 600 | 5 |  |  | Blockage | 1 | [18 empty] | Stage 1 Written | 3 |  | Bury | Clear Debris |  | Traffic Sensitive | 4 | High Pressure Gas Main | 5
| Wks in Chambs/Benching/1.5-3m Dp | W2A950712 | 209.484 | nr |  | 220.5441 | 105.3% |  |  | 900 | 5 |  |  | Odour | 1 | [18 empty] | Stage 1 Escalated | 2 |  | Carlisle | Gullies |  | Duel Carriageway | 4 | Telecoms cable | 3
| Wks in Chambs/Benching/3-4.5m Dp | W2A950713 | 259.944 | nr |  | 273.6682 | 105.3% |  |  | >900 | 6 | [22 empty] | Stage 2 Written | 4 |  | Chester | Clean Ups
| Wks in Chambs/Benching/4.5-6m Dp | W2A950714 | 340.656 | nr |  | 358.6415 | 105.3% | [26 empty] | Warning Letter | 4 |  | Chorley | Investigation
| Wks in Chambs/Point Bkwk/0-1.5m Dp | W2A950721 | 165.228 | nr |  | 173.9515 | 105.3% | [26 empty] | Exec Escalation | 3 |  | Congleton | Reporting
| Wks in Chambs/Point Bkwk >1.5m Dp | W2A950722 | 245.928 | nr |  | 258.9122 | 105.3% | [29 empty] | Copeland | Connectivity Surveys
| Wks in Chambs/Anti-flood Valve/0-1.5m Dp | W2A950731 | 474.648 | nr |  | 499.7079 | 105.3% | [29 empty] | Craven | CCTV
| Wks in Chambs/Anti-flood Valve/ >1.5m Dp | W2A950732 | 512.448 | nr |  | 539.5036 | 105.3% | [29 empty] | Crewe | DrawOff Overpumping
| Wks in MH Install Step Irons/ladders | W2A950741 | 88.56 | nr |  | 93.2357 | 105.3% | [29 empty] | Eden | New Sewers
| New / Reset Frame/Cover/0-0.4m2 /Unmade | W2A950411 | 409.5488 | nr | General Site Works: New or Reset Chamber Cover and Frame | 431.1708 | 105.3% | [29 empty] | Ellesmere Port | Repair Sewers
| New / Reset Frame Cover/>0.4m2 /Unmade | W2A950412 | 456.5924 | nr |  | 480.707 | 105.3% | [29 empty] | Fylde | Brickwork Stonewalls
| New/Reset Frame/Cover/0-0.4m2 /Surfaced | W2A950421 | 449.3924 | nr |  | 473.1269 | 105.3% | [29 empty] | Halton
| New/Reset Frame/Cover/>0.4m2 /Surfaced | W2A950422 | 456.5924 | nr |  | 480.707 | 105.3% | [29 empty] | High Peak
| New/Reset Frame/Cover/0-0.4m2 /RoadTech | W2A950431 | 503.3924 | nr |  | 529.9779 | 105.3% | [29 empty] | Hyndburn
| New/Reset Frame/Cover/>0.4m2 /RoadTech | W2A950432 | 510.5924 | nr |  | 537.558 | 105.3% | [29 empty] | Knowsley
| Refit or Free Cover/0-0.4m2 opening | W2A950311 | 58.632 | nr | General Site Works: Refit Displaced Covers / Lifting Covers | 61.7276 | 105.3% | [29 empty] | Lancaster
| Refit of Free Cover/>0.4m2 opening | W2A950312 | 69.348 | nr |  | 73.0094 | 105.3% | [29 empty] | Liverpool
| Ring MH Type1/1200-1350mm Dia/0-1.5m Dp | W2A950611 | 2304.144 | nr | New installations manhole | 2425.7954 | 105.3% | [29 empty] | Macclesfield
| Ring MH Type1/1200-1350mm Dia/1.5-3m Dp | W2A950612 | 4362.42 | nr |  | 4592.7418 | 105.3% | [29 empty] | Manchester
| Ring MH Type1/1200-1350mm Dia/3-4.5m Dp | W2A950613 | 5685.996 | nr |  | 5986.1984 | 105.3% | [29 empty] | N Shropshire
| Ring MH Type1/1200-1350mm Dia/4.5-6m Dp | W2A950614 | 6808.968 | nr |  | 7168.4597 | 105.3% | [29 empty] | Newcastle-u-L
| Ring MH Type1/1200-1350mm Dia/>6m Dp | W2A950615 | 9898.98 | nr |  | 10421.6145 | 105.3% | [29 empty] | Oldham
| Ring MH Type1/1200-1350mm Dia/EO Side Rd | W2A950616 | 176.424 | m |  | 185.7386 | 105.3% | [29 empty] | Pendle
| Ring MH Type1/1200-1350mm Dia/EO Main Rd | W2A950617 | 268.344 | m |  | 282.5117 | 105.3% | [29 empty] | Preston
| Ring MH Type1/1500-1800mm Dia/0-1.5m Dp | W2A950621 | 3217.056 | nr |  | 3386.9063 | 105.3% | [29 empty] | Ribble Valley
| Ring MH Type1/1500-1800mm Dia/1.5-3m Dp | W2A950622 | 6135 | nr |  | 6458.9084 | 105.3% | [29 empty] | Rochdale
| Ring MH Type1/1500-1800mm Dia/3-4.5m Dp | W2A950623 | 8049.624 | nr |  | 8474.6184 | 105.3% | [29 empty] | Rossendale
| Ring MH Type1/1500-1800mm Dia/4.5-6m Dp | W2A950624 | 7339.92 | nr |  | 7727.4443 | 105.3% | [29 empty] | Salford
| Ring MH Type1/1500-1800mm Dia/>6m Dp | W2A950625 | 10624.188 | nr |  | 11185.1111 | 105.3% | [29 empty] | Sefton
| Ring MH Type1/1500-1800mm Dia/EO Side Rd | W2A950626 | 176.424 | m |  | 185.7386 | 105.3% | [29 empty] | South Lakeland
| Ring MH Type1/1500-1800mm Dia/EO Main Rd | W2A950627 | 262.056 | m |  | 275.8917 | 105.3% | [29 empty] | South Ribble
| Ring MH Type1/2100-2400mm Dia/0-1.5m Dp | W2A950631 | 5436.888 | nr |  | 5723.9383 | 105.3% | [29 empty] | St Helens
| Ring MH Type1/2100-2400mm Dia/1.5-3m Dp | W2A950632 | 8723.448 | nr |  | 9184.0181 | 105.3% | [29 empty] | Staffs Moors
| Ring MH Type1/2100-2400mm Dia/3-4.5m Dp | W2A950633 | 11023.38 | nr |  | 11605.3792 | 105.3% | [29 empty] | Stockport
| Ring MH Type1/2100-2400mm Dia/4.5-6m Dp | W2A950634 | 12174.78 | nr |  | 12817.5694 | 105.3% | [29 empty] | Tameside
| Ring MH Type1/2100-2400mm Dia/>6m Dp | W2A950635 | 14180.004 | nr |  | 14928.6628 | 105.3% | [29 empty] | Trafford
| Ring MH Type1/2100-2400mm Dia/EO Side Rd | W2A950636 | 207.888 | m |  | 218.8638 | 105.3% | [29 empty] | Vale Royal
| Ring MH Type1/2100-2400mm Dia/EO Main Rd | W2A950637 | 317.256 | m |  | 334.0061 | 105.3% | [29 empty] | Warrington
| Ring MH Type2/2400-3000mm Dia/1.5-3m Dp | W2A950641 | 11706.636 | nr |  | 12324.7089 | 105.3% | [29 empty] | West Lancs
| Ring MH Type2/2400-3000mm Dia/3-4.5m Dp | W2A950642 | 13674.204 | nr |  | 14396.1582 | 105.3% | [29 empty] | Wigan
| Ring MH Type2/2400-3000mm Dia/4.5-6m Dp | W2A950643 | 16738.056 | nr |  | 17621.7718 | 105.3% | [29 empty] | Wirral
| Ring MH Type2/2400-3000mm Dia/>6m Dp | W2A950644 | 18265.152 | nr |  | 19229.4936 | 105.3% | [29 empty] | Wyre
| Ring MH Type2/2400-3000mm Dia/EO Side Rd | W2A950645 | 178.44 | m |  | 187.8611 | 105.3% | [29 empty] | N1 Clump
| Ring MH Type2/2400-3000mm Dia/EO Main Rd | W2A950646 | 276.384 | m |  | 290.9762 | 105.3% | [29 empty] | N2 Clump
| Ring MH Type3/900 x 675mm Dia/0-1.5m Dp | W2A950651 | 1942.344 | nr |  | 2044.8935 | 105.3% | [29 empty] | N3 Clump
| Ring MH Type3/900 x 675mm Dia/1.5-2m Dp | W2A950652 | 3919.068 | nr |  | 4125.9822 | 105.3% | [29 empty] | N4 Clump
| Ring MH Type3/900 x 675mm Dia/>2m Dp | W2A950653 | 6005.952 | nr |  | 6323.047 | 105.3% | [29 empty] | N5 Clump
| Ring MH Type3/900 x 675mm Dia/EO Side Rd | W2A950654 | 146.088 | m |  | 153.801 | 105.3% | [29 empty] | N6 Clump
| Ring MH Type3/900 x 675mm Dia/EO Main Rd | W2A950655 | 226.176 | m |  | 238.1174 | 105.3% | [29 empty] | N7 Clump
| Ring MH Type3/900 x 825mm Dia/0-1.5m Dp | W2A950661 | 1940.208 | nr |  | 2042.6448 | 105.3% | [29 empty] | N8 Clump
| Ring MH Type3/900 x 825mm Dia/1.5-2m Dp | W2A950662 | 3916.2 | nr |  | 4122.9628 | 105.3%
| Ring MH Type3/900 x 825mm Dia/>2m Dp | W2A950663 | 5998.296 | nr |  | 6314.9868 | 105.3%
| Ring MH Type3/900 x 825mm Dia/EO Side Rd | W2A950664 | 139.848 | m |  | 147.2315 | 105.3%
| Ring MH Type3/900 x 825mm Dia/EO Main Rd | W2A950665 | 217.68 | m |  | 229.1728 | 105.3%
| Ring MH Type4/900-1200mm Dia/0-1.5m Dp | W2A950671 | 1984.092 | nr |  | 2088.8457 | 105.3%
| Ring MH Type4/900-1200mm Dia/1.5-2m Dp | W2A950672 | 3970.26 | nr |  | 4179.877 | 105.3%
| Ring MH Type4/900-1200mm Dia/>2m Dp | W2A950673 | 6094.896 | nr |  | 6416.687 | 105.3%
| Ring MH Type4/900-1200mm Dia/EO Side Rd | W2A950674 | 118.44 | m |  | 124.6933 | 105.3%
| Ring MH Type4/900-1200mm Dia/EO Main Rd | W2A950675 | 187.656 | m |  | 197.5636 | 105.3%
| Excavation/EO for Rock / Hard Mat'l | W2A950681 | 110.4 | m³ |  | 116.2288 | 105.3%
| Proprietary MH Type5/450mm Dia/>1m Dp | W2A950691 | 1481.9364 | nr |  | 1560.1817 | 105.3%
| Proprietary MH Type5/450mm Dia/1-1.5m Dp | W2A950692 | 1984.092 | nr |  | 2088.8457 | 105.3%
| Pre-cast MH Type6/1200x750mm/<1m Dp | W2A950693 | 1911.0856 | nr |  | 2011.9831 | 105.3%
| Pre-cast MH Type6/1200x750mm/1-1.5m Dp | W2A950694 | 2066.442 | nr |  | 2175.5498 | 105.3%
| Pre-cast MH Type7/450x450mm/<1m Dp | W2A950695 | 1822.6726 | nr |  | 1918.899 | 105.3%
| Pre-cast MH Type7/450x450mm/1-1.5m Dp | W2A950696 | 1942.344 | nr |  | 2044.8935 | 105.3%
Dropshafts | Replace Extg Dropshaft/Not in Trench | W2A963811 | 284.928 | nr | Pipework Ancillaries: Replace Existing Dropshafts | 299.9713 | 105.3%
| Replace Extg Dropshaft/0-1.5m Dp | W2A963812 | 1019.292 | nr |  | 1073.1074 | 105.3%
| Replace Extg Dropshaft/1.5-3m Dp | W2A963813 | 2344.572 | nr |  | 2468.3579 | 105.3%
| Replace Extg Dropshaft/3-4.5m Dp | W2A963814 | 5976.396 | nr |  | 6291.9306 | 105.3%
| Replace Extg Dropshaft/4.5-6m Dp | W2A963815 | 8463.156 | nr |  | 8909.9836 | 105.3%
| Replace Extg Dropshaft/EO for Side Rd | W2A963816 | 361.644 | nr |  | 380.7376 | 105.3%
| Replace Extg Dropshaft/EO for Main Rd | W2A963817 | 484.308 | nr |  | 509.8779 | 105.3%
Make Safe | Make Site Safe/Set up/Maintain/Remove | W2A960211 | 226.812 | nr | General Site Works: Make Site Safe | 238.7869 | 105.3%
| Make Site Safe/Inspect&Maintain | W2A960221 | 75.6 | day |  | 79.5914 | 105.3%
| Trial Hole/Unmade | W2A960110 | 132.324 | nr | Ground Investigation: Trial Holes / Trenches | 139.3103 | 105.3%
| Trial Hole/Surfaced | W2A960121 | 512.244 | nr |  | 539.2888 | 105.3%
| Excavation/Unmade/0-1.5m Dp | W2A961011 | 69.444 | m³ | Excavation | 73.1104 | 105.3%
| Excavation/Unmade/over 1.5m Dp | W2A961012 | 89.112 | m³ |  | 93.8168 | 105.3%
| Excavation/Surfaced/0-1.5m Dp | W2A961021 | 175.776 | m³ |  | 185.0564 | 105.3%
| Excavation/Surfaced/over 1.5m Dp | W2A961022 | 196.56 | m³ |  | 206.9377 | 105.3%
| Excavation/EO Rock / Hard Mat'l | W2A961031 | 95.64 | m³ |  | 100.6895 | 105.3%
Fencing | Fencing/Type A,B,C, D | W2A961211 | 14.016 | m | Sundries: Fencing | 14.756 | 105.3%
GroundWorks Backfill | Filling/Selected excavated matl/0-1m3 | W2A961111 | 87.804 | m³ | Sundries: Filling | 92.4398 | 105.3%
| Filling/Selected excavated matl/1-5m3 | W2A961112 | 70.248 | m³ |  | 73.9569 | 105.3%
| Filling/Selected excavated matl/5-20m3 | W2A961113 | 44.784 | m³ |  | 47.1485 | 105.3%
| Filling/Selected excavated matl/>20m3 | W2A961114 | 39.516 | m³ |  | 41.6023 | 105.3%
| Filling/Imported Type 1 Sub-base/0-1m3 | W2A961121 | 151.524 | m³ |  | 159.524 | 105.3%
| Filling/Imported Type 1 Sub-base/1-5m3 | W2A961122 | 128.424 | m³ |  | 135.2044 | 105.3%
| Filling/Imported Type 1 Sub-base/5-20m3 | W2A961123 | 94.92 | m³ |  | 99.9315 | 105.3%
| Filling/Imported Type 1 Sub-base/>20m3 | W2A961124 | 87.984 | m³ |  | 92.6293 | 105.3%
Abandonment | Insitu Concrete/Blinding/0-150mm Dp | W2A960911 | 105.516 | m³ | Sundries: Insitu-concrete | 111.0869 | 105.3%
| Insitu Concrete/Basesetc/Plain/0-300mmDp | W2A960921 | 100.416 | m³ |  | 105.7176 | 105.3%
| Roads & Pavings/Footpath | W2A960811 | 30.3 | m² | Sundries: Roads and Pavings | 31.8997 | 105.3%
| Roads & Pavings/Side Road | W2A960812 | 45.672 | m² |  | 48.0833 | 105.3%
| Roads & Pavings/Main Road | W2A960813 | 72.264 | m² |  | 76.0793 | 105.3%
| Abandon Pipe/0-300mm Dia/0-5m | W2A504211 | 146.1014 | m | Abandonment | 153.8136 | 105.3%
| Abandon Pipe/0-300mm Dia/5-20m | W2A504212 | 68.5206 | m |  | 72.125 | 105.3%
| Abandon Pipe/0-300mm Dia/20-100m | W2A504213 | 59.9005 | m |  | 63.0667 | 105.3%
| Abandon Pipe/0-300mm Dia/>100m | W2A504214 | 59.9005 | m |  | 63.0667 | 105.3%
| Abandon Pipe/300-600mm Dia/0-5m | W2A504221 | 284.8864 | m |  | 299.9208 | 105.3%
| Abandon Pipe/300-600mm Dia/5-20m | W2A504222 | 136.8577 | m |  | 144.0984 | 105.3%
| Abandon Pipe/300-600mm Dia/20-100m | W2A504223 | 120.4101 | m |  | 126.7652 | 105.3%
| Abandon Pipe/300-600mm Dia/>100m | W2A504224 | 120.4101 | m |  | 126.7652 | 105.3%
| Abandon Pipe/600-1000mm Dia/0-5m | W2A504231 | 613.9272 | m |  | 646.3456 | 105.3%
| Abandon Pipe/600-1000mm Dia/5-20m | W2A504232 | 309.1901 | m |  | 325.5037 | 105.3%
| Abandon Pipe/600-1000mm Dia/20-100m | W2A504233 | 275.3304 | m |  | 289.8644 | 105.3%
| Abandon Pipe/600-1000mm Dia/>100m | W2A504234 | 275.3304 | m |  | 289.8644 | 105.3%
| Abandon Pipe/1000-1500mm Dia/0-5m | W2A504241 | 802.9272 | m |  | 845.3242 | 105.3%
| Abandon Pipe/1000-1500mm Dia/5-20m | W2A504242 | 498.1901 | m |  | 524.4949 | 105.3%
| Abandon Pipe/1000-1500mm Dia/20-100m | W2A504243 | 464.3304 | m |  | 488.843 | 105.3%
| Abandon Pipe/1000-1500mm Dia/>100m | W2A504244 | 464.3304 | m |  | 488.843 | 105.3%
| Abandon MH/1200mm Dia/0-1.5m Dp | W2A504251 | 301.8258 | nr |  | 317.7593 | 105.3%
| Abandon MH/1200mm Dia/1.5-3m Dp | W2A504252 | 465.6258 | nr |  | 490.2075 | 105.3%
| Abandon MH/1200mm Dia/3-4.5m Dp | W2A504253 | 662.1858 | nr |  | 697.1452 | 105.3%
| Abandon MH/1200mm Dia/4.5-5m Dp | W2A504254 | 793.2258 | nr |  | 835.1037 | 105.3%
| Abandon MH/1200mm Dia/>6m Dp | W2A504255 | 957.0258 | nr |  | 1007.5518 | 105.3%
| Abandon MH/2400mm Dia/0-1.5m Dp | W2A504261 | 965.805 | nr |  | 1016.7996 | 105.3%
| Abandon MH/2400mm Dia/1.5-3m Dp | W2A504262 | 1580.055 | nr |  | 1663.4863 | 105.3%
| Abandon MH/2400mm Dia/3-4.5m Dp | W2A504263 | 2317.155 | nr |  | 2439.4902 | 105.3%
| Abandon MH/2400mm Dia/4.5-6m Dp | W2A504264 | 3054.255 | nr |  | 3215.5067 | 105.3%
| Abandon MH/2400mm Dia/>6m Dp | W2A504265 | 3422.805 | nr |  | 3603.5087 | 105.3%
| Abandon MH/E/O for piping through | W2A504271 | 398.0708 | nr |  | 419.0931 | 105.3%
Clear Debris | Clear Debris from Manholes | W2A974511 | 86.964 | nr | Clearance: Clearing Debris from Manholes | 91.5554 | 105.3%
Gullies | B'Out&Repl Gully/Domestic | W2A974011 | 242.232 | nr | Maintenance: Break Out Gully / Trap | 255.0211 | 105.3%
| B'Out&Repl Gully/Trap/Sewer/0-150mmDia | W2A974021 | 452.604 | nr |  | 476.5 | 105.3%
| B'Out&Repl Gully/Trap/Sewer/150-300mmDia | W2A974022 | 628.632 | nr |  | 661.8218 | 105.3%
| B'Out&Repl Gully/Trap/Sewer/EO Side Rd | W2A974023 | 60.216 | nr |  | 63.3952 | 105.3%
| B'Out&Repl Gully/Trap/Sewer/EO Main Rd | W2A974024 | 92.076 | nr |  | 96.9373 | 105.3%
| B'Out&Repl Gully/Trap/MH/0-150mm Dia | W2A974031 | 374.412 | nr |  | 394.1798 | 105.3%
| B'Out&Repl Gully/Trap/MH/150-300mm Dia | W2A974032 | 550.188 | nr |  | 579.2362 | 105.3%
Clean Ups | CleanUpSewage/Flooding extent assessm't | W2A974411 | 43.5378 | incident | Clearance: General Clean-up – External/Internal Areas | 45.8346 | 105.3%
| CleanUpSewage/Flooding/Internal | W2A974412 | 163.692 | property |  | 172.3344 | 105.3%
| CleanUpSewage/Flooding/External Private | W2A974413 | 155.712 | property |  | 163.9331 | 105.3%
| CleanUpSewage/Flooding/External Highway | W2A974414 | 119.088 | incident |  | 125.3755 | 105.3%
| CleanUpSewage/ Flooding/Watercourses | W2A974415 | 318.6 | incident |  | 335.4211 | 105.3%
| CleanUpSewage/ CSO Outfall Grilles | W2A974416 | 611.712 | incident |  | 644.0084 | 105.3%
Investigation | Investigation/Survey Work/2 Men + Van | W2A523311 | 43.536 | hr | General Site Works: Investigation / Survey Work | 45.8346 | 105.3%
| Investigation/Survey Work/Type 1 Unit | W2A523312 | 41.424 | hr |  | 43.6111 | 105.3%
| Investigation/Survey Work/Type 2 Unit | W2A523313 | 50.484 | hr |  | 53.1494 | 105.3%
| Investigation/Survey Work/Type 3 Unit | W2A523314 | 60.54 | hr |  | 63.7363 | 105.3%
| Investigation/Survey Work/Type 4 Unit | W2A523315 | 76.464 | hr |  | 80.5011 | 105.3%
| Investigation/Survey Work/Type 5 Unit | W2A523316 | 84.804 | hr |  | 89.2814 | 105.3%
| Investigation/Survey Work/Type 6 Unit | W2A523317 | 111.264 | hr |  | 117.1384 | 105.3%
| Investigation/SurveyWork/Disab Unit | W2A523318 | 206.244 | hr |  | 217.133 | 105.3%
| Investigation/SurveyWork/Remote Hose Reel | W2A523319 | 694.2 | day |  | 730.8515 | 105.3%
| Investigation/SurveyWork/Type 8 Citiflex Unit | W2A523320 | 86.1 | hr |  | 90.6458 | 105.3%
| Serviceability Investigation Survey | W2A524910 | 125.556 | hr | Investigation & Reporting for Serviceability | 132.185 | 105.3%
Reporting | Data Analysis & Reporting | W2A524920 | 0.636 | m |  | 0.66958 | 105.3%
Connectivity Surveys | Surface Water Connectivity Survey | W2A525010 | 98.868 | nr | Connectivity Survey | 104.0879 | 105.3%
| Sewerage Connectivity Survey | W2A525020 | 98.868 | nr |  | 104.0879 | 105.3%
| Combined Connectivity Surveys | W2A525030 | 154.2 | nr |  | 162.3413 | 105.3%
CCTV | CCTV Survey/Fast Pass/0-600mm Dia | W2A523911 | 2.388 | m | Pipework Ancillaries: CCTV Survey | 2.5141 | 105.3%
| CCTV Survey/Fast Pass/600-1500mm Dia | W2A523912 | 2.832 | m |  | 2.9815 | 105.3%
| CCTV Survey/Structural/0-600mm Dia | W2A523921 | 3.036 | m |  | 3.1963 | 105.3%
| CCTV Survey/Structural/600-1500mm Dia | W2A523922 | 3.18 | m |  | 3.3479 | 105.3%
| CCTV Survey/Light Ring/0-600mm Dia | W2A523931 | 4.968 | m |  | 5.2303 | 105.3%
| CCTV Survey/Light Ring/600-1500mm Dia | W2A523932 | 5.184 | m |  | 5.4577 | 105.3%
DrawOff Overpumping | Pump, Draw Off/>28,000litre tanker | W2A534611 | 95.58 | hr | Clearance: Pump / Draw Off | 100.6263 | 105.3%
| Pump, Draw Off/18,000litre tanker | W2A534612 | 89.208 | hr |  | 93.9179 | 105.3%
| Pump, Draw Off/>14,000litre tanker | W2A534613 | 82.836 | hr |  | 87.2095 | 105.3%
| Pump, Draw Off/9,000litre tanker | W2A534614 | 70.092 | hr |  | 73.7926 | 105.3%
| Major Overpump/SetUp&Rem/0-150mm Dia | W2A533511 | 191.16 | nr | General Site Works: Major Overpumping | 201.2526 | 105.3%
| Major Overpump/SetUp&Rem/200-300mm Dia | W2A533512 | 191.16 | nr |  | 201.2526 | 105.3%
| Major Overpump/Maintain/0-150mm Dia | W2A533521 | 95.58 | day |  | 100.6263 | 105.3%
| Major Overpump/Maintain/200-300mm Dia | W2A533522 | 127.44 | day |  | 134.1684 | 105.3%
New Sewers | New Grav Sewer/150mm Dia/Not in Trench | W2A543611 | 38.136 | m | Gravity Sewers | 40.1495 | 105.3%
| New Grav Sewer/150mm Dia/0-1.5m Dp | W2A543612 | 144.204 | m |  | 151.8175 | 105.3%
| New Grav Sewer/150mm Dia/1.5-3.0m Dp | W2A543613 | 320.496 | m |  | 337.4172 | 105.3%
| New Grav Sewer/150mm Dia/3.0-4.5m Dp | W2A543614 | 810.204 | m |  | 852.9802 | 105.3%
| New Grav Sewer/150mm Dia/4.5-6.0m Dp | W2A543615 | 1658.688 | m |  | 1746.2614 | 105.3%
| New Grav Sewer/150mm Dia/EO Side Rd | W2A543616 | 141.636 | m |  | 149.1139 | 105.3%
| New Grav Sewer/150mm Dia/EO Main Rd | W2A543617 | 164.34 | m |  | 173.0166 | 105.3%
| New Grav Sewer/225mm Dia/Not in Trench | W2A543621 | 38.136 | m |  | 40.1495 | 105.3%
| New Grav Sewer/225mm Dia/0-1.5m Dp | W2A543622 | 194.904 | m |  | 205.1943 | 105.3%
| New Grav Sewer/225mm Dia/1.5-3.0m Dp | W2A543623 | 361.008 | m |  | 380.0681 | 105.3%
| New Grav Sewer/225mm Dia/3.0-4.5m Dp | W2A543624 | 847.404 | m |  | 892.1442 | 105.3%
| New Grav Sewer/225mm Dia/4.5-6.0m Dp | W2A543625 | 1717.476 | m |  | 1808.1532 | 105.3%
| New Grav Sewer/225mm Dia/EO Side Rd | W2A543626 | 142.44 | m |  | 149.9604 | 105.3%
| New Grav Sewer/225mm Dia/EO Main Rd | W2A543627 | 165.144 | m |  | 173.8631 | 105.3%
| New Grav Sewer/300mm Dia/Not in Trench | W2A543631 | 38.136 | m |  | 40.1495 | 105.3%
| New Grav Sewer/300mm Dia/0-1.5m Dp | W2A543632 | 163.512 | m |  | 172.1449 | 105.3%
| New Grav Sewer/300mm Dia/1.5-3.0m Dp | W2A543633 | 365.028 | m |  | 384.3003 | 105.3%
| New Grav Sewer/300mm Dia/3.0-4.5m Dp | W2A543634 | 814.668 | m |  | 857.6799 | 105.3%
| New Grav Sewer/300mm Dia/4.5-6.0m Dp | W2A543635 | 1661.988 | m |  | 1749.7356 | 105.3%
| New Grav Sewer/300mm Dia/EO Side Rd | W2A543636 | 142.44 | m |  | 149.9604 | 105.3%
| New Grav Sewer/300mm Dia/EO Main Rd | W2A543637 | 165.144 | m |  | 173.8631 | 105.3%
| New Grav Sewer/EO Rock / artificial matl | W2A543641 | 110.4 | m³ |  | 116.2288 | 105.3%
| New Grav Sewer/EO Working in Headings | W2A543642 | 1019.52 | m³ |  | 1073.3474 | 105.3%
| New Grav Sewer/375mm Dia/0-1.5m Dp | W2A000001 | 221.5126 | m |  | No Previous Rate | N/A
| New Grav Sewer/375mm Dia/1.5-3.0m Dp | W2A000002 | 492.6711 | m |  | No Previous Rate | N/A
| New Grav Sewer/375mm Dia/3.0-4.5m Dp | W2A000003 | 982.2466 | m |  | No Previous Rate | N/A
| New Grav Sewer/375mm Dia/4.5-6.0m Dp | W2A000004 | 2315.0561 | m |  | No Previous Rate | N/A
| New Grav Sewer/375mm Dia/EO Side Rd | W2A000005 | 63.5576 | m |  | No Previous Rate | N/A
| New Grav Sewer/375mm Dia/EO Main Rd | W2A000006 | 88.4614 | m |  | No Previous Rate | N/A
| New Grav Sewer/375mm Dia/Not in Trench | W2A000007 | 62.5018 | m |  | No Previous Rate | N/A
| New Grav Sewer/450mm Dia/0-1.5m Dp | W2A000008 | 515.3043 | m |  | No Previous Rate | N/A
| New Grav Sewer/450mm Dia/1.5-3.0m Dp | W2A000009 | 848.1515 | m |  | No Previous Rate | N/A
| New Grav Sewer/450mm Dia/3.0-4.5m Dp | W2A000010 | 1161.042 | m |  | No Previous Rate | N/A
| New Grav Sewer/450mm Dia/4.5-6.0m Dp | W2A000011 | 4086.2162 | m |  | No Previous Rate | N/A
| New Grav Sewer/450mm Dia/EO Side Rd | W2A000012 | 69.9079 | m |  | No Previous Rate | N/A
| New Grav Sewer/450mm Dia/EO Main Rd | W2A000013 | 97.9869 | m |  | No Previous Rate | N/A
| New Grav Sewer/450mm Dia/Not in Trench | W2A000014 | 99.1525 | m |  | No Previous Rate | N/A
| New Grav Sewer/525mm Dia/0-1.5m Dp | W2A000015 | 535.117 | m |  | No Previous Rate | N/A
| New Grav Sewer/525mm Dia/1.5-3.0m Dp | W2A000016 | 894.7286 | m |  | No Previous Rate | N/A
| New Grav Sewer/525mm Dia/3.0-4.5m Dp | W2A000017 | 1231.297 | m |  | No Previous Rate | N/A
| New Grav Sewer/525mm Dia/4.5-6.0m Dp | W2A000018 | 4090.7075 | m |  | No Previous Rate | N/A
| New Grav Sewer/525mm Dia/EO Side Rd | W2A000019 | 84.5634 | m |  | No Previous Rate | N/A
| New Grav Sewer/525mm Dia/EO Main Rd | W2A000020 | 112.9133 | m |  | No Previous Rate | N/A
| New Grav Sewer/525mm Dia/Not in Trench | W2A000021 | 120.723 | m |  | No Previous Rate | N/A
| New Grav Sewer/600mm Dia/0-1.5m Dp | W2A000022 | 901.3433 | m |  | No Previous Rate | N/A
| New Grav Sewer/600mm Dia/1.5-3.0m Dp | W2A000023 | 1167.1256 | m |  | No Previous Rate | N/A
| New Grav Sewer/600mm Dia/3.0-4.5m Dp | W2A000024 | 2169.3521 | m |  | No Previous Rate | N/A
| New Grav Sewer/600mm Dia/4.5-6.0m Dp | W2A000025 | 4144.6779 | m |  | No Previous Rate | N/A
| New Grav Sewer/600mm Dia/EO Side Rd | W2A000026 | 88.6674 | m |  | No Previous Rate | N/A
| New Grav Sewer/600mm Dia/EO Main Rd | W2A000027 | 119.4113 | m |  | No Previous Rate | N/A
| New Grav Sewer/600mm Dia/Not in Trench | W2A000028 | 205.6287 | m |  | No Previous Rate | N/A
| New Grav Sewer/900mm Dia/1.5-3.0m Dp | W2A000029 | 1174.4427 | m |  | No Previous Rate | N/A
| New Grav Sewer/900mm Dia/3.0-4.5m Dp | W2A000030 | 2242.2537 | m |  | No Previous Rate | N/A
| New Grav Sewer/900mm Dia/4.5-6.0m Dp | W2A000031 | 4211.7095 | m |  | No Previous Rate | N/A
| New Grav Sewer/900mm Dia/EO Side Rd | W2A000032 | 79.8514 | m |  | No Previous Rate | N/A
| New Grav Sewer/900mm Dia/EO Main Rd | W2A000033 | 102.7673 | m |  | No Previous Rate | N/A
| New Grav Sewer/900mm Dia/Not in Trench | W2A000034 | 335.365 | m |  | No Previous Rate | N/A
Repair Sewers | Repair Sewer/0-150mm Dia/Not in Trench | W2A564111 | 479.088 | nr | Pipework Repairs | 504.3823 | 105.3%
| Repair Sewer/0-150mm Dia/0-1.2m Dp | W2A564112 | 1026.852 | nr |  | 1081.0665 | 105.3%
| Repair Sewer/0-150mm Dia/1.2-2m Dp | W2A564113 | 1081.416 | nr |  | 1138.5113 | 105.3%
| Repair Sewer/0-150mm Dia/2-3m Dp | W2A564114 | 1838.832 | nr |  | 1935.9164 | 105.3%
| Repair Sewer/0-150mm Dia/3-4.5m Dp | W2A564115 | 2486.316 | nr |  | 2617.5855 | 105.3%
| Repair Sewer/0-150mm Dia/4.5-6m Dp | W2A564116 | 7983.948 | nr |  | 8405.4749 | 105.3%
| Repair Sewer/0-150mm Dia/6-7.5m Dp | W2A564117 | 10534.032 | nr |  | 11090.1952 | 105.3%
| Repair Sewer/0-150mm Dia/EO Side Rd | W2A564118 | 343.848 | nr |  | 362.0021 | 105.3%
| Repair Sewer/0-150mm Dia/EO Main Rd | W2A564119 | 453.744 | nr |  | 477.7002 | 105.3%
| Repair Sewer/150-300mm Dia/Not in Trench | W2A564121 | 532.32 | nr |  | 560.4248 | 105.3%
| Repair Sewer/150-300mm Dia/0-1.2m Dp | W2A564122 | 1389.024 | nr |  | 1462.36 | 105.3%
| Repair Sewer/150-300mm Dia/1.2-2m Dp | W2A564123 | 1674.756 | nr |  | 1763.1778 | 105.3%
| Repair Sewer/150-300mm Dia/2-3m Dp | W2A564124 | 2221.944 | nr |  | 2339.2555 | 105.3%
| Repair Sewer/150-300mm Dia/3-4.5m Dp | W2A564125 | 2939.592 | nr |  | 3094.7931 | 105.3%
| Repair Sewer/150-300mm Dia/4.5-6m Dp | W2A564126 | 9170.064 | nr |  | 9654.214 | 105.3%
| Repair Sewer/150-300mm Dia/6-7.5m Dp | W2A564127 | 11941.152 | nr |  | 12571.6066 | 105.3%
| Repair Sewer/150-300mm Dia/EO Side Rd | W2A564128 | 343.848 | nr |  | 362.0021 | 105.3%
| Repair Sewer/150-300mm Dia/EO Main Rd | W2A564129 | 453.744 | nr |  | 477.7002 | 105.3%
| Repair Sewer/300-450mm Dia/Not in Trench | W2A564131 | 633.18 | nr |  | 666.6099 | 105.3%
| Repair Sewer/300-450mm Dia/0-1.2m Dp | W2A564132 | 1475.88 | nr |  | 1553.8017 | 105.3%
| Repair Sewer/300-450mm Dia/1.2-2m Dp | W2A564133 | 1983.156 | nr |  | 2087.8603 | 105.3%
| Repair Sewer/300-450mm Dia/2-3m Dp | W2A564134 | 2321.976 | nr |  | 2444.5689 | 105.3%
| Repair Sewer/300-450mm Dia/3-4.5m Dp | W2A564135 | 4406.412 | nr |  | 4639.0565 | 105.3%
| Repair Sewer/300-450mm Dia/4.5-6m Dp | W2A564136 | 9557.376 | nr |  | 10061.9749 | 105.3%
| Repair Sewer/300-450mm Dia/6-7.5m Dp | W2A564137 | 9136.092 | nr |  | 9618.4484 | 105.3%
| Repair Sewer/300-450mm Dia/EO Side Rd | W2A564138 | 344.652 | nr |  | 362.8485 | 105.3%
| Repair Sewer/300-450mm Dia/EO Main Rd | W2A564139 | 454.548 | nr |  | 478.5467 | 105.3%
| Repair Sewer/450-600mm Dia/Not in Trench | W2A564141 | 854.796 | nr |  | 899.9265 | 105.3%
| Repair Sewer/450-600mm Dia/0-1.2m Dp | W2A564142 | 2891.22 | nr |  | 3043.8672 | 105.3%
| Repair Sewer/450-600mm Dia/1.2-2m Dp | W2A564143 | 3518.316 | nr |  | 3704.0718 | 105.3%
| Repair Sewer/450-600mm Dia/2-3m Dp | W2A564144 | 4093.632 | nr |  | 4309.7627 | 105.3%
| Repair Sewer/450-600mm Dia/3-4.5m Dp | W2A564145 | 4950.072 | nr |  | 5211.42 | 105.3%
| Repair Sewer/450-600mm Dia/4-5m Dp | W2A564146 | 9118.74 | nr |  | 9600.1803 | 105.3%
| Repair Sewer/450-600mm Dia/6-7.5m Dp | W2A564147 | 11484.816 | nr |  | 12091.1775 | 105.3%
| Repair Sewer/450-600mm Dia/EO Side Rd | W2A564148 | 356.784 | nr |  | 375.6211 | 105.3%
| Repair Sewer/450-600mm Dia/EO Main Rd | W2A564149 | 483.516 | nr |  | 509.0441 | 105.3%
| Repair Sewer/600-750mm Dia/Not in Trench | W2A564151 | 2113.104 | nr |  | 2224.6691 | 105.3%
| Repair Sewer/600-750mm Dia/0-1.2m Dp | W2A564152 | 4579.092 | nr |  | 4820.8534 | 105.3%
| Repair Sewer/600-750mm Dia/1.2-2m Dp | W2A564153 | 5368.284 | nr |  | 5651.7122 | 105.3%
| Repair Sewer/600-750mm Dia/2-3m Dp | W2A564154 | 6435.36 | nr |  | 6775.1264 | 105.3%
| Repair Sewer/600-750mm Dia/3-4.5m Dp | W2A564155 | 8476.116 | nr |  | 8923.6278 | 105.3%
| Repair Sewer/600-750mm Dia/4.5-6m Dp | W2A564156 | 11310.732 | nr |  | 11907.9025 | 105.3%
| Repair Sewer/600-750mm Dia/6-7.5m Dp | W2A564157 | 15858.84 | nr |  | 16696.136 | 105.3%
| Repair Sewer/600-750mm Dia/EO Side Rd | W2A564158 | 466.584 | nr |  | 491.2181 | 105.3%
| Repair Sewer/600-750mm Dia/EO Main Rd | W2A564159 | 631.08 | nr |  | 664.399 | 105.3%
| Repair Sewer/750-900mm Dia/Not in Trench | W2A564161 | 2113.104 | nr |  | 2224.6691 | 105.3%
| Repair Sewer/750-900mm Dia/0-1.2m Dp | W2A564162 | 4753.656 | nr |  | 5004.6338 | 105.3%
| Repair Sewer/750-900mm Dia/1.2-2m Dp | W2A564163 | 5614.764 | nr |  | 5911.2056 | 105.3%
| Repair Sewer/750-900mm Dia/2-3m Dp | W2A564164 | 6867.264 | nr |  | 7229.8336 | 105.3%
| Repair Sewer/750-900mm Dia/3-4.5m Dp | W2A564165 | 8888.256 | nr |  | 9357.5275 | 105.3%
| Repair Sewer/750-900mm Dia/4.5-6m Dp | W2A564166 | 11822.28 | nr |  | 12446.4586 | 105.3%
| Repair Sewer/750-900mm Dia/6-7.5m Dp | W2A564167 | 16469.796 | nr |  | 17339.3485 | 105.3%
| Repair Sewer/750-900mm Dia/EO Side Rd | W2A564168 | 468.012 | nr |  | 492.7215 | 105.3%
| Repair Sewer/750-900mm Dia/EO Main Rd | W2A564169 | 633.168 | nr |  | 666.5972 | 105.3%
Brickwork Stonewalls | Brickwork - decorative (1/2 brick thick) | W2A000039 | 85.1333 | m2 | Brickwork | No Previous Rate | N/A
| Brickwork - structural (1/2 brick thick) | W2A000040 | 58.8 | m2 |  | No Previous Rate | N/A
| Stone walling | W2A000041 | 180.4545 | m2 |  | No Previous Rate | N/A